## readme
Comparison of Auxilary Load and Emissions Factors of Generators historically in the NEM
AUXLOAD_existing | Auxiliary load factors (%) from various ISP assumption datasets
EMISSIONS | Plant Emissions intensity factors from various ISP assumption datasets
Sheet Name | Source
2018_07_17 - Auxiliary_2018 | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/isp/2018/2018-integrated-system-plan--modelling-assumptions.xlsx?la=en&hash=AC9C8314AB0DBA5018AEC88EFC058661
2018_07_17 - Emissions_2018 | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/isp/2018/2018-integrated-system-plan--modelling-assumptions.xlsx?la=en&hash=AC9C8314AB0DBA5018AEC88EFC058661
2020_07_30 - Auxiliary_2019 | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/inputs-assumptions-methodologies/2020/2019-input-and-assumptions-workbook-v1-5-jul-20.xlsx?la=en
2020_07_30 - Emissions_2019 | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/inputs-assumptions-methodologies/2020/2019-input-and-assumptions-workbook-v1-5-jul-20.xlsx?la=en
2020_12_11 - Auxiliary_2020 | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/inputs-assumptions-methodologies/2020/2020-inputs-and-assumptions-workbook-dec20.xlsx?la=en
2020_12_11 - Emissions_2020 | https://aemo.com.au/-/media/files/electricity/nem/planning_and_forecasting/inputs-assumptions-methodologies/2020/2020-inputs-and-assumptions-workbook-dec20.xlsx?la=en
2022_06_30 - Auxiliary_2022 | https://aemo.com.au/-/media/files/major-publications/isp/2022/2022-documents/inputs-assumptions-and-scenarios-workbook.xlsx?la=en
2022_06_30 - Emissions_2022 | https://aemo.com.au/-/media/files/major-publications/isp/2022/2022-documents/inputs-assumptions-and-scenarios-workbook.xlsx?la=en
2022_08_31 - Auxiliary_2022b | https://aemo.com.au/-/media/files/major-publications/isp/2022-forecasting-assumptions-update/forecasting-assumptions-update-workbook.xlsx?la=en
2022_08_31 - Emissions_2022b | https://aemo.com.au/-/media/files/major-publications/isp/2022-forecasting-assumptions-update/forecasting-assumptions-update-workbook.xlsx?la=en

## AUXLOAD_existing
Fuel/Technology type | 2022_08_31 | 2022_06_30 | 2020_12_11 | Generator | 2020_07_30 | Generator | 2018_07_17
Black Coal QLD | 6.67 | 6.67 | 6 | Bayswater | 6 | Bayswater | 6
Black Coal NSW | 5.48 | 5.46 | 6 | Eraring | 6 | Eraring | 6
Brown Coal VIC | 8.21 | 8.2 | 8.3 | Liddell | 5 | Liddell | 5
Hydro | 0.34 | 0.34 | 0.3 | Mt Piper | 5 | Mount Piper | 5
Gas-powered steam turbine | 5.09 | 5.08 | 3 | Vales Point B | 5 | Vales Point | 5
CCGT | 1.7 | 1.76 | 3 | Callide B | 9 | Callide B | 9
OCGT | 0.62 | 0.72 | 0.7 | Callide C | 6 | Callide Power Plant | 6
Liquid Fuel | 0.59 | 0.64 | 0.7 | Gladstone | 8 | Gladstone | 8
Solar | 0.02 | 0.2 | 0.4 | Kogan Creek | 9 | Kogan Creek | 9
Wind | 0.11 | 0.28 | 0.9 | Millmerran | 6 | Millmerran | 6
|  |  |  | Stanwell | 9 | Stanwell | 9
|  |  |  | Tarong | 8 | Tarong | 8
|  |  |  | Tarong North | 6 | Tarong North | 6
|  |  |  | Loy Yang A Power Station | 9 | Loy Yang A | 9
|  |  |  | Loy Yang B | 8 | Loy Yang B | 8
|  |  |  | Yallourn W | 10 | Yallourn | 10
|  |  |  | Colongra | 1 | Colongra | 1
|  |  |  | Smithfield Energy Facility | 5 | Smithfield | 5
|  |  |  | Tallawarra | 3 | Tallawarra | 3
|  |  |  | Uranquinty | 1 | Uranquinty | 1
|  |  |  | Barcaldine Power Station | 1 | Barcaldine | 1
|  |  |  | Braemar | 1 | Braemar | 1
|  |  |  | Braemar 2 Power Station | 1
|  |  |  | Condamine A | 3 | Condamine | 3
|  |  |  | Darling Downs | 6 | Darling Downs | 6
|  |  |  | Oakey Power Station | 1 | Oakey | 1
|  |  |  | Roma | 1 | Roma | 1
|  |  |  | Swanbank E GT | 3 | Swanbank E | 3
|  |  |  | Yabulu PS | 3 | Yabulu (Townsville) | 3
|  |  |  | Yabulu Steam Turbine | 3
|  |  |  | Yarwun Cogen | 2 | Yarwun | 2
|  |  |  | Somerton | 1 | Somerton | 1
|  |  |  | Bairnsdale | 1 | Bairnsdale | 1
|  |  |  | Jeeralang A | 3 | Jeeralang A | 3
|  |  |  | Jeeralang B | 3 | Jeeralang B | 3
|  |  |  | Laverton North | 3 | Laverton North | 3
|  |  |  | Mortlake | 1 | Mortlake | 1
|  |  |  | Newport | 5 | Newport | 5
|  |  |  | Valley Power | 1 | Valley Power | 1
|  |  |  | Hallett GT | 1 | Hallett GT | 1
|  |  |  | Dry Creek GT | 1 | Dry Creek | 1
|  |  |  | Ladbroke Grove | 1 | Ladbroke Grove | 1
|  |  |  | Mintaro GT | 1 | Mintaro | 1
|  |  |  | Osborne | 5 | Osborne | 5
|  |  |  | Pelican Point | 2 | Pelican Point | 2
|  |  |  | Quarantine | 5 | Quarantine | 5
|  |  |  | Torrens Island A | 5 | Torrens Island A | 5
|  |  |  | Torrens Island B | 5 | Torrens Island B | 5
|  |  |  | Bell Bay Three | 3 | Bell Bay Three | 3
|  |  |  | Tamar Valley Combined Cycle | 3
|  |  |  | Tamar Valley Peaking | 1 | Tamar Valley | 1
|  |  |  | Hunter Valley GT | 1 | Hunter Valley GT | 1
|  |  |  | Mackay GT | 1 | Mackay GT | 1
|  |  |  | Mt Stuart | 1 | Mount Stuart | 1
|  |  |  | Angaston | 2.5 | Angaston | 2.5
|  |  |  | Lonsdale | 2.5 | Lonsdale | 2.5
|  |  |  | Port Lincoln Gt | 8 | Port Lincoln | 8
[6 empty] | Port Lincoln 3 | 8
|  |  |  | Port Stanvac 1 | 2.5 | Port Stanvac | 2.5
|  |  |  | Snuggery | 3 | Snuggery | 3
|  |  |  | Blowering | 1 | All hydro | 1
|  |  |  | Guthega | 1 | All wind | 1
|  |  |  | Hume Dam NSW | 1 | All solar | 1
|  |  |  | Hume Dam VIC | 1
|  |  |  | Shoalhaven | 1
|  |  |  | Upper Tumut | 1
|  |  |  | Tumut 3 | 1
|  |  |  | Barron Gorge | 1
|  |  |  | Kareeya | 1
|  |  |  | Wivenhoe | 1
|  |  |  | Bogong / Mackay | 1
|  |  |  | Dartmouth | 1
|  |  |  | Eildon | 1
|  |  |  | Murray 1 | 1
|  |  |  | Murray 2 | 1
|  |  |  | West Kiewa | 1
|  |  |  | Bastyan | 1
|  |  |  | Catagunya / Liapootah / Wayatinah | 1
|  |  |  | Cethana | 1
|  |  |  | Devils Gate | 1
|  |  |  | Fisher | 1
|  |  |  | Gordon | 1
|  |  |  | John Butters | 1
|  |  |  | Lake Echo | 1
|  |  |  | Lemonthyme / Wilmot | 1
|  |  |  | Mackintosh | 1
|  |  |  | Meadowbank | 1
|  |  |  | Poatina | 1
|  |  |  | Reece | 1
|  |  |  | Tarraleah | 1
|  |  |  | Trevallyn | 1
|  |  |  | Tribute | 1
|  |  |  | Tungatinah | 1
|  |  |  | Boco Rock Wind Farm | 1
|  |  |  | Bodangora wind farm | 1
|  |  |  | Capital wind farm | 1
|  |  |  | Crookwell 2 wind farm | 1
|  |  |  | Cullerin Range wind farm | 1
|  |  |  | Gullen Range wind farm | 1
|  |  |  | Gunning wind farm | 1
|  |  |  | Silverton wind farm | 1
|  |  |  | Sapphire wind farm | 1
|  |  |  | Taralga wind farm | 1
|  |  |  | White Rock Wind Farm - Stage 1 | 1
|  |  |  | Woodlawn wind farm | 1
|  |  |  | Mount Emerald | 1
|  |  |  | Canunda wind farm | 1
|  |  |  | Cathedral Rocks wind farm | 1
|  |  |  | Clements Gap wind farm | 1
|  |  |  | Hallett Stage 1 Brown Hill | 1
|  |  |  | Hallett Stage 2 Hallett Hill | 1
|  |  |  | Hallett 4 North Brown Hill | 1
|  |  |  | Hallett 5 The Bluff WF | 1
|  |  |  | Hornsdale wind farm Stage 1 | 1
|  |  |  | Hornsdale wind farm Stage 2 | 1
|  |  |  | Hornsdale wind farm Stage 3 | 1
|  |  |  | Lake Bonney 1 wind farm | 1
|  |  |  | Lake Bonney 2 wind farm | 1
|  |  |  | Lake Bonney 3 wind farm | 1
|  |  |  | Lincoln Gap Wind Farm - stage 1 | 1
|  |  |  | Willogoleche wind farm | 1
|  |  |  | Mount Millar wind farm | 1
|  |  |  | Snowtown wind farm | 1
|  |  |  | Snowtown S2 Wind Farm - North | 1
|  |  |  | Snowtown S2 Wind Farm - South | 1
|  |  |  | Starfish Hill wind farm | 1
|  |  |  | Waterloo wind farm | 1
|  |  |  | Wattle Point wind farm | 1
|  |  |  | Musselroe wind farm | 1
|  |  |  | Woolnorth wind farm | 1
|  |  |  | Ararat wind farm | 1
|  |  |  | Bald Hills wind farm | 1
|  |  |  | Challicum Hills wind farm | 1
|  |  |  | Kiata wind farm | 1
|  |  |  | Macarthur wind farm | 1
|  |  |  | Mortons Lane wind farm | 1
|  |  |  | Mt Gellibrand wind farm | 1
|  |  |  | Mt Mercer Wind Farm | 1
|  |  |  | Oaklands Hill wind farm | 1
|  |  |  | Portland wind farm | 1
|  |  |  | Salt Creek wind farm | 1
|  |  |  | Waubra wind farm | 1
|  |  |  | Yambuk wind farm | 1
|  |  |  | Yaloak South wind farm | 1
|  |  |  | Broken Hill Solar Plant | 1
|  |  |  | Beryl solar farm | 1
|  |  |  | Coleambally solar farm | 1
|  |  |  | Gullen Range solar farm | 1
|  |  |  | Manildra solar farm | 1
|  |  |  | Moree solar farm | 1
|  |  |  | Nyngan Solar Plant | 1
|  |  |  | Parkes solar farm | 1
|  |  |  | White Rock solar farm | 1
|  |  |  | Clare solar farm | 1
|  |  |  | Childers solar farm | 1
|  |  |  | Collinsville PV | 1
|  |  |  | Clermont solar farm | 1
|  |  |  | Darling Downs solar farm | 1
|  |  |  | Daydream solar farm | 1
|  |  |  | Emerald Solar Park | 1
|  |  |  | Hamilton solar farm | 1
|  |  |  | Hayman solar farm | 1
|  |  |  | Hughenden solar farm | 1
|  |  |  | Kidston Solar Project Phase One 50MW | 1
|  |  |  | Longreach solar farm | 1
|  |  |  | Ross River solar farm | 1
|  |  |  | Susan River solar farm | 1
|  |  |  | Sun Metals Corporation Solar Farm | 1
|  |  |  | Whitsunday solar farm | 1
|  |  |  | Gannawarra solar farm | 1
|  |  |  | Bannerton Solar Park | 1
|  |  |  | Bungala one solar farm | 1
|  |  |  | Tailem Bend - Solar | 1
|  |  |  | Karadoc solar farm | 1
|  |  |  | Wemen solar farm | 1
|  |  |  | Finley Solar Farm | 1
|  |  |  | Limondale Solar Farm 2 | 1
|  |  |  | Barker Inlet Power Station | 3
|  |  |  | Crowlands Wind Farm | 1
|  |  |  | Haughton Solar Farm | 1
|  |  |  | Lilyvale Solar Farm | 1
|  |  |  | Nevertire Solar Farm | 1
|  |  |  | Numurkah Solar Farm | 1
|  |  |  | Oakey 1 Solar Farm | 1
|  |  |  | Rugby Run Solar Farm | 1
|  |  |  | Yarranlea Solar Farm | 1
|  |  |  | Yendon Wind Farm | 1
|  |  |  | Coopers Gap Wind Farm | 1
|  |  |  | Bungala Two Solar Farm | 1
|  |  |  | Cattle Hill Wind Farm | 1
|  |  |  | Murra Warra Wind Farm - stage 1 | 1
|  |  |  | Snowy 2.0 | 1
|  |  |  | Kennedy Energy Park Wind Farm | 1
|  |  |  | Granville Harbour Wind Farm | 1
|  |  |  | Bulgana Green Power Hub - Wind Farm | 1
|  |  |  | Cherry Tree Wind Farm | 1
|  |  |  | Dundonnell Wind Farm | 1
|  |  |  | Elaine Wind Farm | 1
|  |  |  | Lincoln Gap Wind Farm - stage 2 | 1
|  |  |  | Moorabool Wind Farm | 1
|  |  |  | Stockyard Hill Wind Farm | 1
|  |  |  | Crudine Ridge Wind Farm | 1
|  |  |  | Bomen Solar Farm | 1
|  |  |  | Darlington Point Solar Farm | 1
|  |  |  | Molong Solar Farm | 1
|  |  |  | Sunraysia Solar Farm | 1
|  |  |  | Maryrorough Solar Farm | 1
|  |  |  | Kennedy Energy Park Solar Farm | 1
|  |  |  | Limondale Solar Farm 1 | 1
|  |  |  | Oakey 2 Solar Farm | 1
|  |  |  | Warwick Solar Farm | 1
|  |  |  | Kiamal Solar Farm stage 1 | 1
|  |  |  | Yatpool Solar Farm | 1
|  |  |  | Cohuna Solar Farm | 1
|  |  |  | Goonumbla Solar Farm | 1
|  |  |  | Gangarri Solar Farm | 1
|  |  |  | Winton Solar Farm | 1
|  |  |  | Berrybank Wind Farm | 1
|  |  |  | Berrybank Wind Farm - Stage 2 | 1
|  |  |  | Murra Warra Wind Farm - Stage 2 | 1
|  |  |  | Broadsound Solar Farm | 1
|  |  |  | Cape York Battery Power Plant - Solar | 1
|  |  |  | Collector | 1
|  |  |  | Gunnedah Solar Farm | 1
|  |  |  | Metz Solar Farm | 1
|  |  |  | Suntop Solar Farm | 1
|  |  |  | MacIntyre Wind Farm | 1
|  |  |  | Carwarp Solar Farm stage 1 | 1
|  |  |  | Mortlake South Wind Farm | 1

## EMISSIONS
| 2022_08_31 |  | 2022_06_30 |  | 2020_12_11 |  | 2020_07_30 |  | 2018_07_17
Generator | Scope 1 emissions intensity (kg/MWh as-gen) | Generator | Scope 1 emissions intensity (kg/MWh as-gen) | Generator | Total emissions (kg/MWh) | Generator | Total emissions (kg/MWh) | Generator | Total emissions (kg/MWh)
Angaston | 690.3468 | Angaston | 690.3468 | Angaston | 1013.6 | Angaston | 1013.6 | Angaston1 | 1013.6
Bairnsdale | 547.9588 | Bairnsdale | 547.9588 | Bairnsdale | 565.2085 | Bairnsdale | 565.2085 | Bairnsdale | 565.2085
Barcaldine Power Station | 3192.691 | Barcaldine Power Station | 3192.691 | Barcaldine Power Station | 1099.2394 | Barcaldine Power Station | 1099.2394 | Barcaldine | 1099.2394
Barker Inlet Power Station | 441.5534 | Barker Inlet Power Station | 441.5534 | Barker Inlet Power Station | 503.1 | Barker Inlet Power Station | 503.1
Bayswater | 889.3763 | Bayswater | 889.3763 | Bayswater | 912.6431 | Bayswater | 912.6431 | Bayswater | 912.6431
Bell Bay Three | 516.2884 | Bell Bay Three | 516.2884 | Bell Bay Three | 664.6841 | Bell Bay Three | 664.6841 | Bell Bay Three | 664.6841
Bolivar Power Station | 541.6007 | Temporary Generation South | 532.3935
Braemar | 599.7896 | Braemar | 599.7896 | Braemar | 663.1416 | Braemar | 663.1416 | Braemar | 663.1416
Braemar 2 Power Station | 599.7896 | Braemar 2 Power Station | 599.7896 | Braemar 2 Power Station | 684.5256 | Braemar 2 Power Station | 663.1416
Callide B | 946.7151 | Callide B | 946.7151 | Callide B | 931.3435 | Callide B | 931.3435 | Callide B | 931.3435
Callide C | 910.6064 | Callide C | 910.6064 | Callide C | 906.912 | Callide C | 906.912 | Callide Power Plant | 906.912
Colongra | 658.8349 | Colongra | 658.8349 | Colongra | 782.56 | Colongra | 782.56 | Colongra | 782.56
Condamine A | 458.5099 | Condamine A | 458.5099 | Condamine A | 511.0687 | Condamine A | 511.0687 | Condamine | 511.0687
Darling Downs | 427.6467 | Darling Downs | 427.6467 | Darling Downs | 477.5854 | Darling Downs | 477.5854 | Darling Downs | 477.5854
Dry Creek GT | 1036.8964 | Dry Creek GT | 1036.8964 | Dry Creek GT | 1342.56 | Dry Creek GT | 1342.56 | Dry Creek | 1342.56
Eraring | 888.2314 | Eraring | 888.2314 | Eraring | 910.1431 | Eraring | 910.1431 | Eraring | 910.1431
Gladstone | 952.4868 | Gladstone | 952.4868 | Gladstone | 971.7614 | Gladstone | 971.7614 | Gladstone | 971.7614
Hallett GT | 856.7419 | Hallett GT | 856.7419 | Hallett GT | 1174.44 | Hallett GT | 1174.44 | Hallett GT | 1174.44
|  | Hunter Valley GT | 1274.0175 | Hunter Valley GT | 933.0043 | Hunter Valley GT | 933.0043 | Hunter Valley GT | 933.0043
Jeeralang A | 754.9076 | Jeeralang A | 754.9076 | Jeeralang A | 879.4045 | Jeeralang A | 879.4045 | Jeeralang A | 879.4045
Jeeralang B | 754.9076 | Jeeralang B | 754.9076 | Jeeralang B | 879.4045 | Jeeralang B | 879.4045 | Jeeralang B | 879.4045
Kogan Creek | 840.7028 | Kogan Creek | 840.7028 | Kogan Creek | 831.04 | Kogan Creek | 831.04 | Kogan Creek | 831.04
Kurri Kurri | 580.9847 | Kurri Kurri | 574.5938
Ladbroke Grove | 504.525 | Ladbroke Grove | 504.525 | Ladbroke Grove | 653.552 | Ladbroke Grove | 653.552 | Ladbroke Grove | 653.552
Laverton North | 597.1327 | Laverton North | 597.1327 | Laverton North | 790.1799 | Laverton North | 790.1799 | Laverton North | 790.1799
Liddell | 945.5746 | Liddell | 945.5746 | Liddell | 980.5917 | Liddell | 980.5917 | Liddell | 980.5917
Lonsdale | 674.0399 | Lonsdale | 674.0399 | Lonsdale | 1491.8 | Lonsdale | 1491.8 | Lonsdale1 | 1491.8
Loy Yang A Power Station | 1137.7623 | Loy Yang A Power Station | 1137.7623 | Loy Yang A Power Station | 1154.8176 | Loy Yang A Power Station | 1154.8176 | Loy Yang A | 1154.8176
Loy Yang B | 1113.3154 | Loy Yang B | 1113.3154 | Loy Yang B | 1141.0214 | Loy Yang B | 1141.0214 | Loy Yang B | 1141.0214
|  | Mackay GT | 1591.8367 | Mackay GT | 1045.8229 | Mackay GT | 1045.8229 | Mackay GT | 1045.8229
Millmerran | 829.631 | Millmerran | 829.631 | Millmerran | 841.598 | Millmerran | 841.598 | Millmerran | 841.598
Mintaro GT | 777.8353 | Mintaro GT | 777.8353 | Mintaro GT | 952.3771 | Mintaro GT | 952.3771 | Mintaro | 952.3771
Mortlake | 549.5356 | Mortlake | 549.5356 | Mortlake | 573.4362 | Mortlake | 573.4362 | Mortlake | 573.4362
Mt Piper | 846.2847 | Mt Piper | 846.2847 | Mt Piper | 908.5184 | Mt Piper | 908.5184 | Mount Piper | 908.5184
Mt Stuart | 1041.6082 | Mt Stuart | 1041.6082 | Mt Stuart | 998.6328 | Mt Stuart | 998.6328 | Mount Stuart | 998.6328
Newport | 534.582 | Newport | 534.582 | Newport | 570.0541 | Newport | 570.0541 | Newport | 570.0541
Oakey Power Station | 705.4324 | Oakey Power Station | 705.4324 | Oakey Power Station | 845.2736 | Oakey Power Station | 845.2736 | Oakey | 845.2736
Osborne | 412.26 | Osborne | 412.26 | Osborne | 544.6857 | Osborne | 544.6857 | Osborne | 544.6857
Pelican Point | 397.8387 | Pelican Point | 397.8387 | Pelican Point | 473.7075 | Pelican Point | 473.7075 | Pelican Point | 473.7075
Port Lincoln GT | 1620.2899 | Port Lincoln GT | 1620.2899 | Port Lincoln GT | 1445.8585 | Port Lincoln Gt | 1445.8585 | Port Lincoln | 1445.8585
[8 empty] | Port Lincoln 3 | 1445.8585
Port Stanvac 1 | 674.0399 | Port Stanvac 1 | 674.0399 | Port Stanvac 1 | 1491.8 | Port Stanvac 1 | 1491.8 | Port Stanvac1 | 1491.8
Quarantine | 704.2002 | Quarantine | 704.2002 | Quarantine | 799.9594 | Quarantine | 799.9594 | Quarantine | 799.9594
Roma | 639.5899 | Roma | 639.5899 | Roma | 756.5184 | Roma | 756.5184 | Roma | 756.5184
Smithfield Energy Facility | 720.1304 | Smithfield Energy Facility | 720.1304 | Smithfield Energy Facility | 587.7395 | Smithfield Energy Facility | 587.7395 | Smithfield | 587.7395
Snapper Point Power Station | 541.6007 | Snapper Point Power Station | 532.3935
Snuggery | 1435.7143 | Snuggery | 1435.7143 | Snuggery | 1448.3508 | Snuggery | 1448.3508 | Snuggery | 1448.3508
Somerton | 701.4198 | Somerton | 701.4198 | Somerton | 817.915 | Somerton | 817.915 | Somerton | 817.915
Stanwell | 860.1822 | Stanwell | 860.1822 | Stanwell | 872.19 | Stanwell | 872.19 | Stanwell | 872.19
Swanbank E GT | 378.2067 | Swanbank E GT | 378.2067 | Swanbank E GT | 427.9523 | Swanbank E GT | 427.9523 | Swanbank E | 427.9523
[8 empty] | Tailem Bend | 1013.6
Tallawarra | 369.225 | Tallawarra | 369.225 | Tallawarra | 447.5347 | Tallawarra | 447.5347 | Tallawarra | 447.5347
Tallawarra B | 580.9847 | Tallawarra B | 574.5938
Tamar Valley Combined Cycle | 516.2884 | Tamar Valley Combined Cycle | 516.2884 | Tamar Valley Combined Cycle | 438.7552 | Tamar Valley Combined Cycle | 702.6171 | Tamar Valley GT | 702.6171
Tamar Valley Peaking | 516.2884 | Tamar Valley Peaking | 516.2884 | Tamar Valley Peaking | 702.6171 | Tamar Valley Peaking | 438.7552 | Tamar Valley ST | 438.7552
Tarong | 880.0741 | Tarong | 880.0741 | Tarong | 871.4586 | Tarong | 871.4586 | Tarong | 871.4586
Tarong North | 880.0741 | Tarong North | 880.0741 | Tarong North | 843.7555 | Tarong North | 843.7555 | Tarong North | 843.7555
Torrens Island A | 579.8678 | Torrens Island A | 579.8678 | Torrens Island A | 708.56 | Torrens Island A | 708.56 | Torrens Island A | 708.56
Torrens Island B | 579.8678 | Torrens Island B | 579.8678 | Torrens Island B | 681.15 | Torrens Island B | 681.15 | Torrens Island B | 681.15
Uranquinty | 590.816 | Uranquinty | 590.816 | Uranquinty | 724.2716 | Uranquinty | 724.2716 | Uranquinty | 724.2716
Vales Point B | 877.1658 | Vales Point B | 877.1658 | Vales Point B | 908.3051 | Vales Point B | 908.3051 | Vales Point | 908.3051
Valley Power | 814.4825 | Valley Power | 814.4825 | Valley Power | 871.5465 | Valley Power | 871.5465 | Valley Power | 871.5465
Yabulu PS | 587.2211 | Yabulu PS | 587.2211 | Yabulu PS | 509.2122 | Yabulu PS | 509.2122 | Yabulu | 509.2122
Yabulu Steam Turbine | 587.2211 | Yabulu Steam Turbine | 587.2211 | Yabulu Steam Turbine | 509.2122 | Yabulu Steam Turbine | 509.2122 | Yabulu Steam Turbine | 509.2122
Yallourn W | 1279.8367 | Yallourn W | 1279.8367 | Yallourn W | 1315.5149 | Yallourn W | 1315.5149 | Yallourn | 1315.5149
Yarwun Cogen | 487.7611 | Yarwun Cogen | 487.7611 | Yarwun Cogen | 613.2494 | Yarwun Cogen | 613.2494 | Yarwun | 613.2494
All Pumped Hydro | 0 | All Pumped Hydro | 0 | Blowering | 0 | Blowering | 0 | All hydro | 0
All Large scale solar PV | 0 | All Large scale solar PV | 0 | Guthega | 0 | Guthega | 0 | All wind | 0
All Wind | 0 | All Wind | 0 | Hume Dam NSW | 0 | Hume Dam NSW | 0 | All solar | 0
All Hydro | 0 | All Hydro | 0 | Hume Dam VIC | 0 | Hume Dam VIC | 0
All Battery Storage | 0 | All Battery Storage | 0 | Shoalhaven | 0 | Shoalhaven | 0
|  |  |  | Upper Tumut | 0 | Upper Tumut | 0
|  |  |  | Tumut 3 | 0 | Tumut 3 | 0
|  |  |  | Barron Gorge | 0 | Barron Gorge | 0
|  |  |  | Kareeya | 0 | Kareeya | 0
|  |  |  | Wivenhoe | 0 | Wivenhoe | 0
|  |  |  | Bogong / Mackay | 0 | Bogong / Mackay | 0
|  |  |  | Dartmouth | 0 | Dartmouth | 0
|  |  |  | Eildon | 0 | Eildon | 0
|  |  |  | Murray 1 | 0 | Murray 1 | 0
|  |  |  | Murray 2 | 0 | Murray 2 | 0
|  |  |  | West Kiewa | 0 | West Kiewa | 0
|  |  |  | Bastyan | 0 | Bastyan | 0
|  |  |  | Catagunya / Liapootah / Wayatinah | 0 | Catagunya / Liapootah / Wayatinah | 0
|  |  |  | Cethana | 0 | Cethana | 0
|  |  |  | Devils Gate | 0 | Devils Gate | 0
|  |  |  | Fisher | 0 | Fisher | 0
|  |  |  | Gordon | 0 | Gordon | 0
|  |  |  | John Butters | 0 | John Butters | 0
|  |  |  | Lake Echo | 0 | Lake Echo | 0
|  |  |  | Lemonthyme / Wilmot | 0 | Lemonthyme / Wilmot | 0
|  |  |  | Mackintosh | 0 | Mackintosh | 0
|  |  |  | Meadowbank | 0 | Meadowbank | 0
|  |  |  | Poatina | 0 | Poatina | 0
|  |  |  | Reece | 0 | Reece | 0
|  |  |  | Tarraleah | 0 | Tarraleah | 0
|  |  |  | Trevallyn | 0 | Trevallyn | 0
|  |  |  | Tribute | 0 | Tribute | 0
|  |  |  | Tungatinah | 0 | Tungatinah | 0
|  |  |  | Boco Rock Wind Farm | 0 | Boco Rock Wind Farm | 0
|  |  |  | Bodangora Wind Farm | 0 | Bodangora wind farm | 0
|  |  |  | Capital Wind Farm | 0 | Capital wind farm | 0
|  |  |  | Crookwell 2 Wind Farm | 0 | Crookwell 2 wind farm | 0
|  |  |  | Cullerin Range Wind Farm | 0 | Cullerin Range wind farm | 0
|  |  |  | Gullen Range Wind Farm | 0 | Gullen Range wind farm | 0
|  |  |  | Gunning Wind Farm | 0 | Gunning wind farm | 0
|  |  |  | Silverton Wind Farm | 0 | Silverton wind farm | 0
|  |  |  | Sapphire Wind Farm | 0 | Sapphire wind farm | 0
|  |  |  | Taralga Wind Farm | 0 | Taralga wind farm | 0
|  |  |  | White Rock Wind Farm - Stage 1 | 0 | White Rock Wind Farm - Stage 1 | 0
|  |  |  | Woodlawn Wind Farm | 0 | Woodlawn wind farm | 0
|  |  |  | Coopers Gap Wind Farm | 0 | Mount Emerald | 0
|  |  |  | Mount Emerald | 0 | Canunda wind farm | 0
|  |  |  | Canunda Wind Farm | 0 | Cathedral Rocks wind farm | 0
|  |  |  | Cathedral Rocks Wind Farm | 0 | Clements Gap wind farm | 0
|  |  |  | Clements Gap Wind Farm | 0 | Hallett Stage 1 Brown Hill | 0
|  |  |  | Hallett Stage 1 Brown Hill | 0 | Hallett Stage 2 Hallett Hill | 0
|  |  |  | Hallett Stage 2 Hallett Hill | 0 | Hallett 4 North Brown Hill | 0
|  |  |  | Hallett 4 North Brown Hill | 0 | Hallett 5 The Bluff WF | 0
|  |  |  | Hallett 5 The Bluff WF | 0 | Hornsdale wind farm Stage 1 | 0
|  |  |  | Hornsdale Wind Farm Stage 1 | 0 | Hornsdale wind farm Stage 2 | 0
|  |  |  | Hornsdale Wind Farm Stage 2 | 0 | Hornsdale wind farm Stage 3 | 0
|  |  |  | Hornsdale Wind Farm Stage 3 | 0 | Lake Bonney 1 wind farm | 0
|  |  |  | Lake Bonney 1 Wind Farm | 0 | Lake Bonney 2 wind farm | 0
|  |  |  | Lake Bonney 2 Wind Farm | 0 | Lake Bonney 3 wind farm | 0
|  |  |  | Lake Bonney 3 Wind Farm | 0 | Lincoln Gap Wind Farm - stage 1 | 0
|  |  |  | Lincoln Gap Wind Farm - stage 1 | 0 | Willogoleche wind farm | 0
|  |  |  | Willogoleche Wind Farm | 0 | Mount Millar wind farm | 0
|  |  |  | Mount Millar Wind Farm | 0 | Snowtown wind farm | 0
|  |  |  | Snowtown Wind Farm | 0 | Snowtown S2 Wind Farm - North | 0
|  |  |  | Snowtown S2 Wind Farm - North | 0 | Snowtown S2 Wind Farm - South | 0
|  |  |  | Snowtown S2 Wind Farm - South | 0 | Starfish Hill wind farm | 0
|  |  |  | Starfish Hill Wind Farm | 0 | Waterloo wind farm | 0
|  |  |  | Waterloo Wind Farm | 0 | Wattle Point wind farm | 0
|  |  |  | Wattle Point Wind Farm | 0 | Musselroe wind farm | 0
|  |  |  | Cattle Hill Wind Farm | 0 | Woolnorth wind farm | 0
|  |  |  | Musselroe Wind Farm | 0 | Ararat wind farm | 0
|  |  |  | Woolnorth Wind Farm | 0 | Bald Hills wind farm | 0
|  |  |  | Ararat Wind Farm | 0 | Challicum Hills wind farm | 0
|  |  |  | Bald Hills Wind Farm | 0 | Kiata wind farm | 0
|  |  |  | Challicum Hills Wind Farm | 0 | Macarthur wind farm | 0
|  |  |  | Cherry Tree Wind Farm | 0 | Mortons Lane wind farm | 0
|  |  |  | Crowlands Wind Farm | 0 | Mt Gellibrand wind farm | 0
|  |  |  | Dundonnell Wind Farm | 0 | Mt Mercer Wind Farm | 0
|  |  |  | Elaine Wind Farm | 0 | Oaklands Hill wind farm | 0
|  |  |  | Kiata Wind Farm | 0 | Portland wind farm | 0
|  |  |  | Macarthur Wind Farm | 0 | Salt Creek wind farm | 0
|  |  |  | Mortons Lane Wind Farm | 0 | Waubra wind farm | 0
|  |  |  | Mt Gellibrand Wind Farm | 0 | Yambuk wind farm | 0
|  |  |  | Mt Mercer Wind Farm | 0 | Yaloak South wind farm | 0
|  |  |  | Murra Warra Wind Farm - stage 1 | 0 | Broken Hill Solar Plant | 0
|  |  |  | Oaklands Hill Wind Farm | 0 | Beryl solar farm | 0
|  |  |  | Portland Wind Farm | 0 | Coleambally solar farm | 0
|  |  |  | Salt Creek Wind Farm | 0 | Gullen Range solar farm | 0
|  |  |  | Waubra Wind Farm | 0 | Manildra solar farm | 0
|  |  |  | Yambuk Wind Farm | 0 | Moree solar farm | 0
|  |  |  | Yaloak South Wind Farm | 0 | Nyngan Solar Plant | 0
|  |  |  | Yendon Wind Farm | 0 | Parkes solar farm | 0
|  |  |  | Broken Hill Solar Plant | 0 | White Rock solar farm | 0
|  |  |  | Beryl solar farm | 0 | Clare solar farm | 0
|  |  |  | Coleambally solar farm | 0 | Childers solar farm | 0
|  |  |  | Finley Solar Farm | 0 | Collinsville PV | 0
|  |  |  | Gullen Range solar farm | 0 | Clermont solar farm | 0
|  |  |  | Limondale Solar Farm 2 | 0 | Darling Downs solar farm | 0
|  |  |  | Manildra solar farm | 0 | Daydream solar farm | 0
|  |  |  | Moree solar farm | 0 | Emerald Solar Park | 0
|  |  |  | Nevertire Solar Farm | 0 | Hamilton solar farm | 0
|  |  |  | Nyngan Solar Plant | 0 | Hayman solar farm | 0
|  |  |  | Parkes solar farm | 0 | Hughenden solar farm | 0
|  |  |  | White Rock solar farm | 0 | Kidston Solar Project Phase One 50MW | 0
|  |  |  | Clare solar farm | 0 | Longreach solar farm | 0
|  |  |  | Childers solar farm | 0 | Ross River solar farm | 0
|  |  |  | Collinsville PV | 0 | Susan River solar farm | 0
|  |  |  | Clermont solar farm | 0 | Sun Metals Corporation Solar Farm | 0
|  |  |  | Darling Downs solar farm | 0 | Whitsunday solar farm | 0
|  |  |  | Daydream solar farm | 0 | Gannawarra solar farm | 0
|  |  |  | Emerald Solar Park | 0 | Bannerton Solar Park | 0
|  |  |  | Hamilton solar farm | 0 | Bungala one solar farm | 0
|  |  |  | Haughton Solar Farm | 0 | Tailem Bend - Solar | 0
|  |  |  | Hayman solar farm | 0 | Karadoc solar farm | 0
|  |  |  | Hughenden solar farm | 0 | Wemen solar farm | 0
|  |  |  | Kidston Solar Project Phase One 50MW | 0 | Finley Solar Farm | 0
|  |  |  | Lilyvale Solar Farm | 0 | Limondale Solar Farm 2 | 0
|  |  |  | Longreach solar farm | 0 | Nevertire Solar Farm | 0
|  |  |  | Oakey 1 Solar Farm | 0 | Numurkah Solar Farm | 0
|  |  |  | Oakey 2 Solar Farm | 0 | Oakey 1 Solar Farm | 0
|  |  |  | Ross River solar farm | 0 | Rugby Run Solar Farm | 0
|  |  |  | Rugby Run Solar Farm | 0 | Yarranlea Solar Farm | 0
|  |  |  | Susan River solar farm | 0 | Yendon Wind Farm | 0
|  |  |  | Sun Metals Corporation Solar Farm | 0 | Coopers Gap Wind Farm | 0
|  |  |  | Whitsunday solar farm | 0 | Bungala Two Solar Farm | 0
|  |  |  | Yarranlea Solar Farm | 0 | Cattle Hill Wind Farm | 0
|  |  |  | Gannawarra solar farm | 0 | Murra Warra Wind Farm - stage 1 | 0
|  |  |  | Bannerton Solar Park | 0 | Snowy 2.0 | 0
|  |  |  | Bungala one solar farm | 0 | Kennedy Energy Park Wind Farm | 0
|  |  |  | Bungala Two Solar Farm | 0 | Granville Harbour Wind Farm | 0
|  |  |  | Tailem Bend - Solar | 0 | Bulgana Green Power Hub - Wind Farm | 0
|  |  |  | Karadoc solar farm | 0 | Cherry Tree Wind Farm | 0
|  |  |  | Numurkah Solar Farm | 0 | Dundonnell Wind Farm | 0
|  |  |  | Wemen solar farm | 0 | Elaine Wind Farm | 0
[6 empty] | Lincoln Gap Wind Farm - stage 2 | 0
[6 empty] | Moorabool Wind Farm | 0
[6 empty] | Stockyard Hill Wind Farm | 0
[6 empty] | Crudine Ridge Wind Farm | 0
[6 empty] | Bomen Solar Farm | 0
[6 empty] | Darlington Point Solar Farm | 0
[6 empty] | Molong Solar Farm | 0
[6 empty] | Sunraysia Solar Farm | 0
[6 empty] | Maryrorough Solar Farm | 0
[6 empty] | Kennedy Energy Park Solar Farm | 0
[6 empty] | Limondale Solar Farm 1 | 0
[6 empty] | Oakey 2 Solar Farm | 0
[6 empty] | Warwick Solar Farm | 0
[6 empty] | Kiamal Solar Farm stage 1 | 0
[6 empty] | Yatpool Solar Farm | 0
[6 empty] | Cohuna Solar Farm | 0
[6 empty] | Goonumbla Solar Farm | 0
[6 empty] | Gangarri Solar Farm | 0
[6 empty] | Winton Solar Farm | 0
[6 empty] | Berrybank Wind Farm | 0
[6 empty] | Berrybank Wind Farm - Stage 2 | 0
[6 empty] | Murra Warra Wind Farm - Stage 2 | 0
[6 empty] | Broadsound Solar Farm | 0
[6 empty] | Cape York Battery Power Plant - Solar | 0
[6 empty] | Collector | 0
[6 empty] | Gunnedah Solar Farm | 0
[6 empty] | Metz Solar Farm | 0
[6 empty] | Suntop Solar Farm | 0
[6 empty] | MacIntyre Wind Farm | 0
[6 empty] | Carwarp Solar Farm stage 1 | 0
[6 empty] | Mortlake South Wind Farm | 0
[6 empty] | Hornsdale Power Reserve Unit 1 | 0
[6 empty] | Dalrymple North BESS | 0
[6 empty] | Ballarat Energy Storage System | 0
[6 empty] | Bulgana Green Power Hub - BESS | 0
[6 empty] | Gannawarra Energy Storage System | 0
[6 empty] | Lincoln Gap BESS | 0
[6 empty] | Lake Bonney BESS1 | 0
[6 empty] | Cape York Battery Power Plant - Storage | 0

## 2022_08_31 - Auxiliary_2022b
Go to Assumptions Summary
Auxiliary load
Auxiliary load is also called "parasitic load" or "self load" and refers to energy generated by power stations for in-house use.
All units take the auxiliary rate of their respective fuel type.
Existing, committed, and anticipated generators |  | New entrants
Fuel/Technology type | % auxiliary load | Generator | % auxiliary load
Black Coal QLD | 6.67 | Black Coal (advanced ultra supercritical PC) | 4.1
Black Coal NSW | 5.48 | Black Coal (advanced ultra supercritical PC) with CCS | 17.5
Brown Coal VIC | 8.21 | OCGT (small GT) | 1.7
Hydro | 0.34 | OCGT (large GT) | 1.1
Gas-powered steam turbine | 5.09 | CCGT | 2.5
CCGT | 1.7 | CCGT with CCS | 9.2
OCGT | 0.62 | Biomass | 8.3
Liquid Fuel | 0.59 | Large scale Solar PV | 0.02
Solar | 0.02 | Solar Thermal (12hrs Storage) | 10
Wind | 0.11 | Battery storage (1hr storage) | 0
Source: July 2022 Generation Information |  | Battery storage (2hrs storage) | 0
|  | Battery storage (4hrs storage) | 0
|  | Battery Storage (8hrs storage) | 0
|  | Wind | 0.11
|  | Wind - Offshore | 0.11
|  | Pumped Hydro (8hrs storage) | 0.5
|  | Pumped Hydro (24hrs storage) | 0.5
|  | Pumped Hydro (48hrs storage) | 0.5
|  | BOTN - Cethana | 0.5
|  | Hydrogen reciprocating engines | 4
Notes:
1. Sourced from Aurecon 2021-22 AEMO costs and technical parameter review.
2. Pumped Hydro is sourced from information provided by Hydro Tasmania.
3. Battery auxiliary is included in the round-trip efficiency.
4. Wind and solar PV auxiliary rates using average rates for existing, committed and anticipated generation.

## 2022_08_31 - Emissions_2022b
Go to Assumptions Summary
Emissions intensity
Existing, Committed and Anticipated generators |  |  | New entrant technologies
The scope 1 emissions intensity for existing facilities is provided by NGER 2019-20. |  |  | The scope 1 emission intensity for committed and new entrants generators is calculated by AEMO as the product of the technology heat rate from Aurecon 2021-22 and emission factors from GHD 2018.
Generator | Technology | Scope 1 emissions intensity (kg/MWh as-gen) | Generator | Scope 1 emissions intensity (kg/MWh as-gen)
Bayswater | Steam Sub Critical | 889.3763 | Black Coal (advanced ultra supercritical PC) | 766.4766
Eraring | Steam Sub Critical | 888.2314 | Black Coal (advanced ultra supercritical PC) with CCS | 93.5199
Liddell | Steam Sub Critical | 945.5746 | OCGT (small GT) | 541.6007
Mt Piper | Steam Sub Critical | 846.2847 | OCGT (large GT) | 580.9847
Vales Point B | Steam Sub Critical | 877.1658 | CCGT | 377.6704
Callide B | Steam Sub Critical | 946.7151 | CCGT with CCS | 57.447
Callide C | Steam Super Critical | 910.6064 | Biomass | 1386.0223
Gladstone | Steam Sub Critical | 952.4868 | Large scale Solar PV | 0
Kogan Creek | Steam Super Critical | 840.7028 | Solar Thermal (12hrs Storage) | 0
Millmerran | Steam Super Critical | 829.631 | Battery Storage (1hr storage) | 0
Stanwell | Steam Sub Critical | 860.1822 | Battery storage (2hrs storage) | 0
Tarong | Steam Sub Critical | 880.0741 | Battery storage (4hrs storage) | 0
Tarong North | Steam Super Critical | 880.0741 | Battery storage (8hrs storage) | 0
Loy Yang A Power Station | Steam Sub Critical | 1137.7623 | Wind | 0
Loy Yang B | Steam Sub Critical | 1113.3154 | Wind - offshore | 0
Yallourn W | Steam Sub Critical | 1279.8367 | Pumped Hydro (8hrs storage) | 0
Tallawarra | CCGT | 369.225 | Pumped Hydro (24hrs storage) | 0
Condamine A | CCGT | 458.5099 | Pumped Hydro (48hrs storage) | 0
Darling Downs | CCGT | 427.6467 | BOTN - Cethana | 0
Swanbank E GT | CCGT | 378.2067 | Hydrogen reciprocating engines | 0
Yabulu PS | CCGT | 587.2211
Yabulu Steam Turbine | CCGT | 587.2211
Yarwun Cogen | CCGT | 487.7611
Osborne | CCGT | 412.26
Pelican Point | CCGT | 397.8387
Tamar Valley Combined Cycle | CCGT | 516.2884
Colongra | OCGT | 658.8349
Smithfield Energy Facility | OCGT | 720.1304
Uranquinty | OCGT | 590.816
Barcaldine Power Station | OCGT | 3192.691
Braemar | OCGT | 599.7896
Braemar 2 Power Station | OCGT | 599.7896
Mt Stuart | OCGT | 1041.6082
Oakey Power Station | OCGT | 705.4324
Roma | OCGT | 639.5899
Port Lincoln GT | OCGT | 1620.2899
Snuggery | OCGT | 1435.7143
Dry Creek GT | OCGT | 1036.8964
Hallett GT | OCGT | 856.7419
Ladbroke Grove | OCGT | 504.525
Mintaro GT | OCGT | 777.8353
Quarantine | OCGT | 704.2002
Bolivar Power Station | OCGT | 541.6007
Bell Bay Three | OCGT | 516.2884
Tamar Valley Peaking | OCGT | 516.2884
Somerton | OCGT | 701.4198
Bairnsdale | OCGT | 547.9588
Jeeralang A | OCGT | 754.9076
Jeeralang B | OCGT | 754.9076
Laverton North | OCGT | 597.1327
Mortlake | OCGT | 549.5356
Valley Power | OCGT | 814.4825
Torrens Island A | Gas-powered steam turbine | 579.8678
Torrens Island B | Gas-powered steam turbine | 579.8678
Newport | Gas-powered steam turbine | 534.582
Angaston | Reciprocating Engine | 690.3468
Barker Inlet Power Station | Reciprocating Engine | 441.5534
Lonsdale | Reciprocating Engine | 674.0399
Port Stanvac 1 | Reciprocating Engine | 674.0399
All Pumped Hydro | Pumped Hydro | 0
All Large scale solar PV | Large scale solar PV | 0
All Wind | Wind | 0
All Hydro | Hydro | 0
All Battery Storage | Battery Storage | 0
Kurri Kurri | OCGT | 580.9847
Snapper Point Power Station | OCGT | 541.6007
Tallawarra B | OCGT | 580.9847
Notes:
1. Yarwun Cogen emission is an average of CCGT values in QLD
2. Bolivar Power Station and Snapper Point South Station use the emission intensity of new entrant OCGTs (small GT).
3. Kurri Kurri and Tallawara B use the emission intensity of new entrant OCGTs (large GT).

## 2022_06_30 - Auxiliary_2022
Go to Assumptions Summary
Auxiliary load
Auxiliary load is also called "parasitic load" or "self load" and refers to energy generated by power stations for in-house use.
All units take the auxiliary rate of their respective fuel type.
Source: February 2022 Generation Information
Existing, committed, and anticipated generators |  | New entrants
Fuel/Technology type | % auxiliary load | Generator | % auxiliary load
Black Coal QLD | 6.67 | Black Coal (advanced ultra supercritical PC) | 4
Black Coal NSW | 5.46 | Black Coal (advanced ultra supercritical PC) with CCS | 17
Brown Coal VIC | 8.2 | OCGT (small GT) | 1.7
Hydro | 0.34 | OCGT (large GT) | 1.1
Gas-powered steam turbine | 5.08 | CCGT | 2.5
CCGT | 1.76 | CCGT with CCS | 8.9
OCGT | 0.72 | Biomass | 8.3
Liquid Fuel | 0.64 | Large scale Solar PV | 0.2
Solar | 0.2 | Solar Thermal (8hrs Storage) | 10
Wind | 0.28 | Battery storage (1hr storage) | 0
|  | Battery storage (2hrs storage) | 0
|  | Battery storage (4hrs storage) | 0
|  | Battery Storage (8hrs storage) | 0
|  | Wind | 0.28
|  | Wind - Offshore | 0.28
|  | Pumped Hydro (8hrs storage) | 0.5
|  | Pumped Hydro (24hrs storage) | 0.5
|  | Pumped Hydro (48hrs storage) | 0.5
|  | BOTN - Cethana | 0.5
|  | Hydrogen turbine (large) | 1.1
Notes:
1. Sourced from Aurecon 2020-21 AEMO costs and technical parameter review.
2. Pumped Hydro is sourced from information provided by Hydro Tasmania.
3. Battery auxiliary is included in the round-trip efficiency.
4. Wind and solar PV auxiliary rates using average rates for existing, committed and anticipated generation.

## 2022_06_30 - Emissions_2022
z | Go to Assumptions Summary
Emissions intensity
| Existing, Committed and Anticipated generators |  |  | New entrant technologies
| The scope 1 emissions intensity for existing facilities is provided by NGER 2019-20. |  |  | The scope 1 emission intensity for committed and new entrants generators is calculated by AEMO as the product of the technology heat rate from Aurecon 2020-21 and emission factors from GHD 2018.
| Generator | Technology | Scope 1 emissions intensity (kg/MWh as-gen) | Generator | Scope 1 emissions intensity (kg/MWh as-gen)
| Bayswater | Steam Sub Critical | 889.3763 | Black Coal (advanced ultra supercritical PC) | 728.3438
| Eraring | Steam Sub Critical | 888.2314 | Black Coal (advanced ultra supercritical PC) with CCS | 76.5166
| Liddell | Steam Sub Critical | 945.5746 | OCGT (small GT) | 532.3935
| Mt Piper | Steam Sub Critical | 846.2847 | OCGT (large GT) | 574.5938
| Vales Point B | Steam Sub Critical | 877.1658 | CCGT | 368.2287
| Callide B | Steam Sub Critical | 946.7151 | CCGT with CCS | 51.7424
| Callide C | Steam Super Critical | 910.6064 | Biomass | 1270.9825
| Gladstone | Steam Sub Critical | 952.4868 | Large scale Solar PV | 0
| Kogan Creek | Steam Super Critical | 840.7028 | Solar Thermal (8hrs Storage) | 0
| Millmerran | Steam Super Critical | 829.631 | Battery Storage (1hr storage) | 0
| Stanwell | Steam Sub Critical | 860.1822 | Battery storage (2hrs storage) | 0
| Tarong | Steam Sub Critical | 880.0741 | Battery storage (4hrs storage) | 0
| Tarong North | Steam Super Critical | 880.0741 | Battery storage (8hrs storage) | 0
| Loy Yang A Power Station | Steam Sub Critical | 1137.7623 | Wind | 0
| Loy Yang B | Steam Sub Critical | 1113.3154 | Wind - offshore | 0
| Yallourn W | Steam Sub Critical | 1279.8367 | Pumped Hydro (8hrs storage) | 0
| Tallawarra | CCGT | 369.225 | Pumped Hydro (24hrs storage) | 0
| Condamine A | CCGT | 458.5099 | Pumped Hydro (48hrs storage) | 0
| Darling Downs | CCGT | 427.6467 | BOTN - Cethana | 0
| Swanbank E GT | CCGT | 378.2067 | Hydrogen turbine (large) | 0
| Yabulu PS | CCGT | 587.2211
| Yabulu Steam Turbine | CCGT | 587.2211
| Yarwun Cogen | CCGT | 487.7611
| Osborne | CCGT | 412.26
| Pelican Point | CCGT | 397.8387
| Tamar Valley Combined Cycle | CCGT | 516.2884
| Colongra | OCGT | 658.8349
| Smithfield Energy Facility | OCGT | 720.1304
| Hunter Valley GT | OCGT | 1274.0175
| Uranquinty | OCGT | 590.816
| Barcaldine Power Station | OCGT | 3192.691
| Braemar | OCGT | 599.7896
| Braemar 2 Power Station | OCGT | 599.7896
| Mackay GT | OCGT | 1591.8367
| Mt Stuart | OCGT | 1041.6082
| Oakey Power Station | OCGT | 705.4324
| Roma | OCGT | 639.5899
| Port Lincoln GT | OCGT | 1620.2899
| Snuggery | OCGT | 1435.7143
| Dry Creek GT | OCGT | 1036.8964
| Hallett GT | OCGT | 856.7419
| Ladbroke Grove | OCGT | 504.525
| Mintaro GT | OCGT | 777.8353
| Quarantine | OCGT | 704.2002
| Temporary Generation South | OCGT | 532.3935
| Bell Bay Three | OCGT | 516.2884
| Tamar Valley Peaking | OCGT | 516.2884
| Somerton | OCGT | 701.4198
| Bairnsdale | OCGT | 547.9588
| Jeeralang A | OCGT | 754.9076
| Jeeralang B | OCGT | 754.9076
| Laverton North | OCGT | 597.1327
| Mortlake | OCGT | 549.5356
| Valley Power | OCGT | 814.4825
| Torrens Island A | Gas-powered steam turbine | 579.8678
| Torrens Island B | Gas-powered steam turbine | 579.8678
| Newport | Gas-powered steam turbine | 534.582
| Angaston | Reciprocating Engine | 690.3468
| Barker Inlet Power Station | Reciprocating Engine | 441.5534
| Lonsdale | Reciprocating Engine | 674.0399
| Port Stanvac 1 | Reciprocating Engine | 674.0399
| All Pumped Hydro | Pumped Hydro | 0
| All Large scale solar PV | Large scale solar PV | 0
| All Wind | Wind | 0
| All Hydro | Hydro | 0
| All Battery Storage | Battery Storage | 0
| Kurri Kurri | OCGT | 574.5938
| Snapper Point Power Station | OCGT | 532.3935
| Tallawarra B | OCGT | 574.5938
Notes:
1. Yarwun Cogen emission is an average of CCGT values in QLD
2. Temporary Generation South and Snapper Point South Station use the emission intensity of new entrant OCGTs (small GT).
3. Kurri Kurri and Tallawara B use the emission intensity of new entrant OCGTs (large GT).

## 2020_12_11 - Auxiliary_2020
Go to Assumptions Summary
Auxiliary load
Auxiliary load is also called "parasitic load" or "self load" and refers to energy generated by power stations for in-house use.
All units take the auxilirary rate of their respective fuel type.
Existing, committed, and anticipated generators |  | New entrants
Fuel/Technology type | % auxiliary load | Generator | % auxiliary load
Black Coal QLD | 6 | Black Coal (supercritical PC) | 4
Black Coal NSW | 6 | Brown Coal (supercritical PC) | 6.01
Brown Coal VIC | 8.3 | OCGT | 1.53
Hydro | 0.3 | CCGT | 2.51
Gas-powered steam turbine | 3 | Biomass | 6.1
CCGT | 3 | Large scale Solar PV | 2
OCGT | 0.7 | Solar Thermal (8hrs Storage) | 10
Liquid Fuel | 0.7 | Wind | 2
Solar | 0.4 | Wind - offshore | 2
Wind | 0.9 | Pumped Hydro (6hrs storage) | 1
Note: Sourced from July 2020 Generation Information (This data has been aggregated by fuel/technology to protect confidentiality) |  | Pumped Hydro (12hrs storage) | 1
|  | Pumped Hydro (24hrs storage) | 1
|  | Pumped Hydro (48hrs storage) | 1
Note: Sourced from GHD 2018 AEMO costs and technical parameter review

## 2020_12_11 - Emissions_2020
Go to Assumptions Summary
Emissions
Existing generators1 |  |  |  |  | Generic new entrant technologies |  |  |  |  | Emissions for existing generators
Generator | Technology | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh) | Generator | Region | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh) | Generator | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Bayswater | Steam Sub Critical | 865.5122 | 47.1309 | 912.6431 | OCGT | Qld | 624.4845 | 89.2977 | 713.7822 | Hydro | 0 | 0 | 0
Eraring | Steam Sub Critical | 862.3464 | 47.7966 | 910.1431 | OCGT | NSW | 624.4845 | 158.6209 | 783.1054 | Wind | 0 | 0 | 0
Liddell | Steam Sub Critical | 930 | 50.5917 | 980.5917 | OCGT | VIC | 624.4845 | 45.8238 | 670.3083 | Large scale solar PV | 0 | 0 | 0
Mt Piper | Steam Sub Critical | 862.3022 | 46.2162 | 908.5184 | OCGT | SA | 624.4845 | 119.8469 | 744.3314 | Battery storage | 0 | 0 | 0
Vales Point B | Steam Sub Critical | 860 | 48.3051 | 908.3051 | OCGT | Tas | 624.4845 | 45.8238 | 670.3083
Callide B | Steam Sub Critical | 920 | 11.3435 | 931.3435 | CCGT | Qld | 394.6595 | 57.5725 | 452.232
Callide C | Steam Super Critical | 895.323 | 11.589 | 906.912 | CCGT | NSW | 394.6595 | 102.2669 | 496.9264
Gladstone | Steam Sub Critical | 960 | 11.7614 | 971.7614 | CCGT | VIC | 394.6595 | 29.5438 | 424.2033
Kogan Creek | Steam Super Critical | 820 | 11.04 | 831.04 | CCGT | SA | 394.6595 | 77.2684 | 471.9279
Millmerran | Steam Super Critical | 830.1346 | 11.4634 | 841.598 | CCGT | Tas | 394.6595 | 29.5438 | 424.2033
Stanwell | Steam Sub Critical | 860.94 | 11.25 | 872.19 | Black Coal (Supercritical PC) | Qld | 769.5165 | 20.6425 | 790.159
Tarong | Steam Sub Critical | 860.0221 | 11.4365 | 871.4586 | Black Coal (Supercritical PC) | NSW | 769.5165 | 82.57 | 852.0865
Tarong North | Steam Super Critical | 832.9647 | 10.7908 | 843.7555 | Black Coal (Supercritical PC) | VIC | 0 | 0 | 0
Loy Yang A Power Station | Steam Sub Critical | 1150 | 4.8176 | 1154.8176 | Black Coal (Supercritical PC) | SA | 0 | 0 | 0
Loy Yang B | Steam Sub Critical | 1136.0409 | 4.9805 | 1141.0214 | Black Coal (Supercritical PC) | Tas | 0 | 0 | 0
Yallourn W | Steam Sub Critical | 1310 | 5.5149 | 1315.5149 | Brown Coal (Supercritical PC) | Qld | 0 | 0 | 0
Colongra | OCGT | 640 | 142.56 | 782.56 | Brown Coal (Supercritical PC) | NSW | 0 | 0 | 0
Smithfield Energy Facility | CCGT | 480.9688 | 106.7707 | 587.7395 | Brown Coal (Supercritical PC) | VIC | 959.3369 | 4.5348 | 963.8717
Tallawarra | CCGT | 358.1395 | 89.3952 | 447.5347 | Brown Coal (Supercritical PC) | SA | 0 | 0 | 0
Uranquinty | OCGT | 581.7116 | 142.56 | 724.2716 | Brown Coal (Supercritical PC) | Tas | 0 | 0 | 0
Barcaldine Power Station | OCGT | 999.9566 | 99.2829 | 1099.2394 | Biomass | Qld | 1351.051 | 0 | 1351.051
Braemar | OCGT | 570.4776 | 92.664 | 663.1416 | Biomass | NSW | 1351.051 | 0 | 1351.051
Braemar 2 Power Station | OCGT | 591.8616 | 92.664 | 684.5256 | Biomass | VIC | 1351.051 | 0 | 1351.051
Condamine A | CCGT | 454.3237 | 56.745 | 511.0687 | Biomass | SA | 1351.051 | 0 | 1351.051
Darling Downs | CCGT | 420.2045 | 57.3809 | 477.5854 | Biomass | Tas | 1351.051 | 0 | 1351.051
Oakey Power Station | OCGT | 760 | 85.2736 | 845.2736 | Large scale Solar PV | ALL | 0 | 0 | 0
Roma | OCGT | 663.8544 | 92.664 | 756.5184 | Solar Thermal (8hrs Storage) | ALL | 0 | 0 | 0
Swanbank E GT | CCGT | 370 | 57.9523 | 427.9523 | Battery storage (2hrs storage) | ALL | 0 | 0 | 0
Yabulu PS | CCGT | 450 | 59.2122 | 509.2122 | Battery storage (4hrs storage) | ALL | 0 | 0 | 0
Yabulu Steam Turbine | CCGT | 450 | 59.2122 | 509.2122 | Wind | ALL | 0 | 0 | 0
Yarwun Cogen | CCGT | 532.3129 | 80.9365 | 613.2494 | Wind - offshore | ALL | 0 | 0 | 0
Somerton | OCGT | 760 | 57.915 | 817.915 | Pumped Hydro (6hrs storage) | ALL | 0 | 0 | 0
Bairnsdale | OCGT | 524.3273 | 40.8812 | 565.2085 | Pumped Hydro (12hrs storage) | ALL | 0 | 0 | 0
Jeeralang A | OCGT | 819.9338 | 59.4707 | 879.4045 | Pumped Hydro (24hrs storage) | ALL | 0 | 0 | 0
Jeeralang B | OCGT | 819.9338 | 59.4707 | 879.4045 | Pumped Hydro (48hrs storage) | ALL | 0 | 0 | 0
Laverton North | OCGT | 745.3812 | 44.7987 | 790.1799 | 1 Generic new entrant units and committed projects emissions are calculated based on unit's heat rates and fuel emissions details given in the GHD 2018 AEMO costs and technical parameter review.
Mortlake | OCGT | 530 | 43.4362 | 573.4362
Newport | Gas-powered steam turbine | 530 | 40.0541 | 570.0541
Valley Power | OCGT | 813.6315 | 57.915 | 871.5465
Hallett GT | OCGT | 1020 | 154.44 | 1174.44
Dry Creek GT | OCGT | 1200 | 142.56 | 1342.56
Ladbroke Grove | OCGT | 530 | 123.552 | 653.552
Mintaro GT | OCGT | 820 | 132.3771 | 952.3771
Osborne | CCGT | 460 | 84.6857 | 544.6857
Pelican Point | CCGT | 397.2675 | 76.44 | 473.7075
Quarantine | OCGT | 688.8094 | 111.15 | 799.9594
Torrens Island A | Gas-powered steam turbine | 590 | 118.56 | 708.56
Torrens Island B | Gas-powered steam turbine | 570 | 111.15 | 681.15
Bell Bay Three | OCGT | 617.7228 | 46.9614 | 664.6841
Tamar Valley Combined Cycle | CCGT | 410.3827 | 28.3725 | 438.7552
Tamar Valley Peaking | OCGT | 652.9757 | 49.6414 | 702.6171
Hunter Valley GT | OCGT | 887.1814 | 45.8229 | 933.0043
Mackay GT | OCGT | 1000 | 45.8229 | 1045.8229
Mt Stuart | OCGT | 955.8648 | 42.768 | 998.6328
Angaston | Reciprocating Engine | 940.2 | 73.4 | 1013.6
Barker Inlet Power Station | Reciprocating Engine | 422.5737 | 80.5263 | 503.1
Lonsdale | Reciprocating Engine | 1442 | 49.8 | 1491.8
Port Lincoln GT | OCGT | 1400 | 45.8585 | 1445.8585
Port Stanvac 1 | Reciprocating Engine | 1442 | 49.8 | 1491.8
Snuggery | OCGT | 1400 | 48.3508 | 1448.3508
Blowering | Hydro | 0 | 0 | 0
Guthega | Hydro | 0 | 0 | 0
Hume Dam NSW | Hydro | 0 | 0 | 0
Hume Dam VIC | Hydro | 0 | 0 | 0
Shoalhaven | Hydro | 0 | 0 | 0
Upper Tumut | Hydro | 0 | 0 | 0
Tumut 3 | Hydro | 0 | 0 | 0
Barron Gorge | Hydro | 0 | 0 | 0
Kareeya | Hydro | 0 | 0 | 0
Wivenhoe | Hydro | 0 | 0 | 0
Bogong / Mackay | Hydro | 0 | 0 | 0
Dartmouth | Hydro | 0 | 0 | 0
Eildon | Hydro | 0 | 0 | 0
Murray 1 | Hydro | 0 | 0 | 0
Murray 2 | Hydro | 0 | 0 | 0
West Kiewa | Hydro | 0 | 0 | 0
Bastyan | Hydro | 0 | 0 | 0
Catagunya / Liapootah / Wayatinah | Hydro | 0 | 0 | 0
Cethana | Hydro | 0 | 0 | 0
Devils Gate | Hydro | 0 | 0 | 0
Fisher | Hydro | 0 | 0 | 0
Gordon | Hydro | 0 | 0 | 0
John Butters | Hydro | 0 | 0 | 0
Lake Echo | Hydro | 0 | 0 | 0
Lemonthyme / Wilmot | Hydro | 0 | 0 | 0
Mackintosh | Hydro | 0 | 0 | 0
Meadowbank | Hydro | 0 | 0 | 0
Poatina | Hydro | 0 | 0 | 0
Reece | Hydro | 0 | 0 | 0
Tarraleah | Hydro | 0 | 0 | 0
Trevallyn | Hydro | 0 | 0 | 0
Tribute | Hydro | 0 | 0 | 0
Tungatinah | Hydro | 0 | 0 | 0
Boco Rock Wind Farm | Wind | 0 | 0 | 0
Bodangora Wind Farm | Wind | 0 | 0 | 0
Capital Wind Farm | Wind | 0 | 0 | 0
Crookwell 2 Wind Farm | Wind | 0 | 0 | 0
Cullerin Range Wind Farm | Wind | 0 | 0 | 0
Gullen Range Wind Farm | Wind | 0 | 0 | 0
Gunning Wind Farm | Wind | 0 | 0 | 0
Silverton Wind Farm | Wind | 0 | 0 | 0
Sapphire Wind Farm | Wind | 0 | 0 | 0
Taralga Wind Farm | Wind | 0 | 0 | 0
White Rock Wind Farm - Stage 1 | Wind | 0 | 0 | 0
Woodlawn Wind Farm | Wind | 0 | 0 | 0
Coopers Gap Wind Farm | Wind | 0 | 0 | 0
Mount Emerald | Wind | 0 | 0 | 0
Canunda Wind Farm | Wind | 0 | 0 | 0
Cathedral Rocks Wind Farm | Wind | 0 | 0 | 0
Clements Gap Wind Farm | Wind | 0 | 0 | 0
Hallett Stage 1 Brown Hill | Wind | 0 | 0 | 0
Hallett Stage 2 Hallett Hill | Wind | 0 | 0 | 0
Hallett 4 North Brown Hill | Wind | 0 | 0 | 0
Hallett 5 The Bluff WF | Wind | 0 | 0 | 0
Hornsdale Wind Farm Stage 1 | Wind | 0 | 0 | 0
Hornsdale Wind Farm Stage 2 | Wind | 0 | 0 | 0
Hornsdale Wind Farm Stage 3 | Wind | 0 | 0 | 0
Lake Bonney 1 Wind Farm | Wind | 0 | 0 | 0
Lake Bonney 2 Wind Farm | Wind | 0 | 0 | 0
Lake Bonney 3 Wind Farm | Wind | 0 | 0 | 0
Lincoln Gap Wind Farm - stage 1 | Wind | 0 | 0 | 0
Willogoleche Wind Farm | Wind | 0 | 0 | 0
Mount Millar Wind Farm | Wind | 0 | 0 | 0
Snowtown Wind Farm | Wind | 0 | 0 | 0
Snowtown S2 Wind Farm - North | Wind | 0 | 0 | 0
Snowtown S2 Wind Farm - South | Wind | 0 | 0 | 0
Starfish Hill Wind Farm | Wind | 0 | 0 | 0
Waterloo Wind Farm | Wind | 0 | 0 | 0
Wattle Point Wind Farm | Wind | 0 | 0 | 0
Cattle Hill Wind Farm | Wind | 0 | 0 | 0
Musselroe Wind Farm | Wind | 0 | 0 | 0
Woolnorth Wind Farm | Wind | 0 | 0 | 0
Ararat Wind Farm | Wind | 0 | 0 | 0
Bald Hills Wind Farm | Wind | 0 | 0 | 0
Challicum Hills Wind Farm | Wind | 0 | 0 | 0
Cherry Tree Wind Farm | Wind | 0 | 0 | 0
Crowlands Wind Farm | Wind | 0 | 0 | 0
Dundonnell Wind Farm | Wind | 0 | 0 | 0
Elaine Wind Farm | Wind | 0 | 0 | 0
Kiata Wind Farm | Wind | 0 | 0 | 0
Macarthur Wind Farm | Wind | 0 | 0 | 0
Mortons Lane Wind Farm | Wind | 0 | 0 | 0
Mt Gellibrand Wind Farm | Wind | 0 | 0 | 0
Mt Mercer Wind Farm | Wind | 0 | 0 | 0
Murra Warra Wind Farm - stage 1 | Wind | 0 | 0 | 0
Oaklands Hill Wind Farm | Wind | 0 | 0 | 0
Portland Wind Farm | Wind | 0 | 0 | 0
Salt Creek Wind Farm | Wind | 0 | 0 | 0
Waubra Wind Farm | Wind | 0 | 0 | 0
Yambuk Wind Farm | Wind | 0 | 0 | 0
Yaloak South Wind Farm | Wind | 0 | 0 | 0
Yendon Wind Farm | Wind | 0 | 0 | 0
Broken Hill Solar Plant | Large scale solar PV | 0 | 0 | 0
Beryl solar farm | Large scale solar PV | 0 | 0 | 0
Coleambally solar farm | Large scale solar PV | 0 | 0 | 0
Finley Solar Farm | Large scale solar PV | 0 | 0 | 0
Gullen Range solar farm | Large scale solar PV | 0 | 0 | 0
Limondale Solar Farm 2 | Large scale solar PV | 0 | 0 | 0
Manildra solar farm | Large scale solar PV | 0 | 0 | 0
Moree solar farm | Large scale solar PV | 0 | 0 | 0
Nevertire Solar Farm | Large scale solar PV | 0 | 0 | 0
Nyngan Solar Plant | Large scale solar PV | 0 | 0 | 0
Parkes solar farm | Large scale solar PV | 0 | 0 | 0
White Rock solar farm | Large scale solar PV | 0 | 0 | 0
Clare solar farm | Large scale solar PV | 0 | 0 | 0
Childers solar farm | Large scale solar PV | 0 | 0 | 0
Collinsville PV | Large scale solar PV | 0 | 0 | 0
Clermont solar farm | Large scale solar PV | 0 | 0 | 0
Darling Downs solar farm | Large scale solar PV | 0 | 0 | 0
Daydream solar farm | Large scale solar PV | 0 | 0 | 0
Emerald Solar Park | Large scale solar PV | 0 | 0 | 0
Hamilton solar farm | Large scale solar PV | 0 | 0 | 0
Haughton Solar Farm | Large scale solar PV | 0 | 0 | 0
Hayman solar farm | Large scale solar PV | 0 | 0 | 0
Hughenden solar farm | Large scale solar PV | 0 | 0 | 0
Kidston Solar Project Phase One 50MW | Large scale solar PV | 0 | 0 | 0
Lilyvale Solar Farm | Large scale solar PV | 0 | 0 | 0
Longreach solar farm | Large scale solar PV | 0 | 0 | 0
Oakey 1 Solar Farm | Large scale solar PV | 0 | 0 | 0
Oakey 2 Solar Farm | Large scale solar PV | 0 | 0 | 0
Ross River solar farm | Large scale solar PV | 0 | 0 | 0
Rugby Run Solar Farm | Large scale solar PV | 0 | 0 | 0
Susan River solar farm | Large scale solar PV | 0 | 0 | 0
Sun Metals Corporation Solar Farm | Large scale solar PV | 0 | 0 | 0
Whitsunday solar farm | Large scale solar PV | 0 | 0 | 0
Yarranlea Solar Farm | Large scale solar PV | 0 | 0 | 0
Gannawarra solar farm | Large scale solar PV | 0 | 0 | 0
Bannerton Solar Park | Large scale solar PV | 0 | 0 | 0
Bungala one solar farm | Large scale solar PV | 0 | 0 | 0
Bungala Two Solar Farm | Large scale solar PV | 0 | 0 | 0
Tailem Bend - Solar | Large scale solar PV | 0 | 0 | 0
Karadoc solar farm | Large scale solar PV | 0 | 0 | 0
Numurkah Solar Farm | Large scale solar PV | 0 | 0 | 0
Wemen solar farm | Large scale solar PV | 0 | 0 | 0
Note:
1. Existing generator emissions are sourced from ACIL Allen - AEMO Emissions Factors Update 2016
2. Emissions data for existing reciprocating engine plants are not present in 2016 ACIL Allen AEMO Emissions Factors Update and they are sourced from ACIL Allen 2014 Fuel and Technical costs review
3.Emissions for Barker Inlet Power Station calculated based on emissions factor of gas, modelled heat rate and fugitive emissions profile of Torrens Island A
Committed generators
Generator |  | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Bomen Solar Farm | Large scale solar PV | 0 | 0 | 0
Darlington Point Solar Farm | Large scale solar PV | 0 | 0 | 0
Molong Solar Farm | Large scale solar PV | 0 | 0 | 0
Sunraysia Solar Farm | Large scale solar PV | 0 | 0 | 0
Limondale Solar Farm 1 | Large scale solar PV | 0 | 0 | 0
Wellington Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Snowy 2.0 | Pumped Hydro | 0 | 0 | 0
Goonumbla Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Bango 973 Wind Farm | Wind | 0 | 0 | 0
Biala Wind Farm | Wind | 0 | 0 | 0
Collector | Wind | 0 | 0 | 0
Crudine Ridge Wind Farm | Wind | 0 | 0 | 0
Kennedy Energy Park Wind Farm | Wind | 0 | 0 | 0
Maryrorough Solar Farm | Large scale solar PV | 0 | 0 | 0
Kennedy Energy Park Solar Farm | Large scale solar PV | 0 | 0 | 0
Warwick Solar Farm | Large scale solar PV | 0 | 0 | 0
Gangarri Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Middlemount Sun Farm | Large Scale Solar PV | 0 | 0 | 0
Temporary Generation South | OCGT | 624.4845 | 119.8469 | 744.3314
Lincoln Gap Wind Farm - stage 2 | Wind | 0 | 0 | 0
Granville Harbour Wind Farm | Wind | 0 | 0 | 0
Berrybank Wind Farm | Wind | 0 | 0 | 0
Bulgana Green Power Hub - Wind Farm | Wind | 0 | 0 | 0
Glenrowan West Sun Farm | Large scale solar PV | 0 | 0 | 0
Moorabool Wind Farm | Wind | 0 | 0 | 0
Stockyard Hill Wind Farm | Wind | 0 | 0 | 0
Kiamal Solar Farm stage 1 | Large scale solar PV | 0 | 0 | 0
Yatpool Solar Farm | Large scale solar PV | 0 | 0 | 0
Cohuna Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Winton Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Note: Temporary Generation South is using the emissions values of new entrants OCGT in South Australia.
Anticipated Projects
Generator |  | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Berrybank Wind Farm - Stage 2 | Wind | 0 | 0 | 0
Broadsound Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Cape York Battery Power Plant - Solar | Large Scale Solar PV | 0 | 0 | 0
Carwarp Solar Farm stage 1 | Large Scale Solar PV | 0 | 0 | 0
Gunnedah Solar Farm | Large Scale Solar PV | 0 | 0 | 0
MacIntyre Wind Farm | Wind | 0 | 0 | 0
Metz Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Mortlake South Wind Farm | Wind | 0 | 0 | 0
Murra Warra Wind Farm - Stage 2 | Wind | 0 | 0 | 0
Suntop Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Existing, Committed and Anticipated Batteries
Storage |  | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Ballarat Energy Storage System | Battery Storage | 0 | 0 | 0
Bulgana Green Power Hub - BESS | Battery Storage | 0 | 0 | 0
Cape York Battery Power Plant - Storage | Battery Storage | 0 | 0 | 0
Dalrymple North BESS | Battery Storage | 0 | 0 | 0
Gannawarra Energy Storage System | Battery Storage | 0 | 0 | 0
Hornsdale Power Reserve Unit 1 | Battery Storage | 0 | 0 | 0
Lake Bonney BESS1 | Battery Storage | 0 | 0 | 0

## 2020_07_30 - Auxiliary_2019
Go to Assumptions Summary
Auxiliary load
Auxiliary load is also called "parasitic load" or "self load" and refers to energy generated by power stations for in-house use.
Existing generators |  |  | New entrants |  | Auxillary load for existing generators
Generator | Technology | % auxiliary load | Generator | % auxiliary load | Generator | % auxiliary load
Bayswater | Steam Sub Critical | 6 | Black Coal (supercritical PC) | 4 | Hydro | 1
Eraring | Steam Sub Critical | 6 | Brown Coal (supercritical PC) | 6.01 | Wind | 1
Liddell | Steam Sub Critical | 5 | OCGT | 1.53 | Large scale solar PV | 1
Mt Piper | Steam Sub Critical | 5 | CCGT | 2.51
Vales Point B | Steam Sub Critical | 5 | Biomass | 6.1
Callide B | Steam Sub Critical | 9 | Large scale Solar PV | 2
Callide C | Steam Super Critical | 6 | Solar Thermal (8hrs Storage) | 10
Gladstone | Steam Sub Critical | 8 | Wind | 2
Kogan Creek | Steam Super Critical | 9 | Wind - offshore | 2
Millmerran | Steam Super Critical | 6 | Pumped Hydro (6hrs storage) | 1
Stanwell | Steam Sub Critical | 9 | Pumped Hydro (12hrs storage) | 1
Tarong | Steam Sub Critical | 8 | Pumped Hydro (24hrs storage) | 1
Tarong North | Steam Super Critical | 6 | Pumped Hydro (48hrs storage) | 1
Loy Yang A Power Station | Steam Sub Critical | 9
Loy Yang B | Steam Sub Critical | 8
Yallourn W | Steam Sub Critical | 10
Colongra | OCGT | 1
Smithfield Energy Facility | CCGT | 5
Tallawarra | CCGT | 3
Uranquinty | OCGT | 1
Barcaldine Power Station | OCGT | 1
Braemar | OCGT | 1
Braemar 2 Power Station | OCGT | 1
Condamine A | CCGT | 3
Darling Downs | CCGT | 6
Oakey Power Station | OCGT | 1
Roma | OCGT | 1
Swanbank E GT | CCGT | 3
Yabulu PS | CCGT | 3
Yabulu Steam Turbine | CCGT | 3
Yarwun Cogen | CCGT | 2
Somerton | OCGT | 1
Bairnsdale | OCGT | 1
Jeeralang A | OCGT | 3
Jeeralang B | OCGT | 3
Laverton North | OCGT | 3
Mortlake | OCGT | 1
Newport | Gas-powered steam turbine | 5
Valley Power | OCGT | 1
Hallett GT | OCGT | 1
Dry Creek GT | OCGT | 1
Ladbroke Grove | OCGT | 1
Mintaro GT | OCGT | 1
Osborne | CCGT | 5
Pelican Point | CCGT | 2
Quarantine | OCGT | 5
Torrens Island A | Gas-powered steam turbine | 5
Torrens Island B | Gas-powered steam turbine | 5
Bell Bay Three | OCGT | 3
Tamar Valley Combined Cycle | CCGT | 3
Tamar Valley Peaking | OCGT | 1
Hunter Valley GT | OCGT | 1
Mackay GT | OCGT | 1
Mt Stuart | OCGT | 1
Angaston | Reciprocating Engine | 2.5
Lonsdale | Reciprocating Engine | 2.5
Port Lincoln Gt | OCGT | 8
Port Stanvac 1 | Reciprocating Engine | 2.5
Snuggery | OCGT | 3
Blowering | Hydro | 1
Guthega | Hydro | 1
Hume Dam NSW | Hydro | 1
Hume Dam VIC | Hydro | 1
Shoalhaven | Hydro | 1
Upper Tumut | Hydro | 1
Tumut 3 | Hydro | 1
Barron Gorge | Hydro | 1
Kareeya | Hydro | 1
Wivenhoe | Hydro | 1
Bogong / Mackay | Hydro | 1
Dartmouth | Hydro | 1
Eildon | Hydro | 1
Murray 1 | Hydro | 1
Murray 2 | Hydro | 1
West Kiewa | Hydro | 1
Bastyan | Hydro | 1
Catagunya / Liapootah / Wayatinah | Hydro | 1
Cethana | Hydro | 1
Devils Gate | Hydro | 1
Fisher | Hydro | 1
Gordon | Hydro | 1
John Butters | Hydro | 1
Lake Echo | Hydro | 1
Lemonthyme / Wilmot | Hydro | 1
Mackintosh | Hydro | 1
Meadowbank | Hydro | 1
Poatina | Hydro | 1
Reece | Hydro | 1
Tarraleah | Hydro | 1
Trevallyn | Hydro | 1
Tribute | Hydro | 1
Tungatinah | Hydro | 1
Boco Rock Wind Farm | Wind | 1
Bodangora wind farm | Wind | 1
Capital wind farm | Wind | 1
Crookwell 2 wind farm | Wind | 1
Cullerin Range wind farm | Wind | 1
Gullen Range wind farm | Wind | 1
Gunning wind farm | Wind | 1
Silverton wind farm | Wind | 1
Sapphire wind farm | Wind | 1
Taralga wind farm | Wind | 1
White Rock Wind Farm - Stage 1 | Wind | 1
Woodlawn wind farm | Wind | 1
Mount Emerald | Wind | 1
Canunda wind farm | Wind | 1
Cathedral Rocks wind farm | Wind | 1
Clements Gap wind farm | Wind | 1
Hallett Stage 1 Brown Hill | Wind | 1
Hallett Stage 2 Hallett Hill | Wind | 1
Hallett 4 North Brown Hill | Wind | 1
Hallett 5 The Bluff WF | Wind | 1
Hornsdale wind farm Stage 1 | Wind | 1
Hornsdale wind farm Stage 2 | Wind | 1
Hornsdale wind farm Stage 3 | Wind | 1
Lake Bonney 1 wind farm | Wind | 1
Lake Bonney 2 wind farm | Wind | 1
Lake Bonney 3 wind farm | Wind | 1
Lincoln Gap Wind Farm - stage 1 | Wind | 1
Willogoleche wind farm | Wind | 1
Mount Millar wind farm | Wind | 1
Snowtown wind farm | Wind | 1
Snowtown S2 Wind Farm - North | Wind | 1
Snowtown S2 Wind Farm - South | Wind | 1
Starfish Hill wind farm | Wind | 1
Waterloo wind farm | Wind | 1
Wattle Point wind farm | Wind | 1
Musselroe wind farm | Wind | 1
Woolnorth wind farm | Wind | 1
Ararat wind farm | Wind | 1
Bald Hills wind farm | Wind | 1
Challicum Hills wind farm | Wind | 1
Kiata wind farm | Wind | 1
Macarthur wind farm | Wind | 1
Mortons Lane wind farm | Wind | 1
Mt Gellibrand wind farm | Wind | 1
Mt Mercer Wind Farm | Wind | 1
Oaklands Hill wind farm | Wind | 1
Portland wind farm | Wind | 1
Salt Creek wind farm | Wind | 1
Waubra wind farm | Wind | 1
Yambuk wind farm | Wind | 1
Yaloak South wind farm | Wind | 1
Broken Hill Solar Plant | Large scale solar PV | 1
Beryl solar farm | Large scale solar PV | 1
Coleambally solar farm | Large scale solar PV | 1
Gullen Range solar farm | Large scale solar PV | 1
Manildra solar farm | Large scale solar PV | 1
Moree solar farm | Large scale solar PV | 1
Nyngan Solar Plant | Large scale solar PV | 1
Parkes solar farm | Large scale solar PV | 1
White Rock solar farm | Large scale solar PV | 1
Clare solar farm | Large scale solar PV | 1
Childers solar farm | Large scale solar PV | 1
Collinsville PV | Large scale solar PV | 1
Clermont solar farm | Large scale solar PV | 1
Darling Downs solar farm | Large scale solar PV | 1
Daydream solar farm | Large scale solar PV | 1
Emerald Solar Park | Large scale solar PV | 1
Hamilton solar farm | Large scale solar PV | 1
Hayman solar farm | Large scale solar PV | 1
Hughenden solar farm | Large scale solar PV | 1
Kidston Solar Project Phase One 50MW | Large scale solar PV | 1
Longreach solar farm | Large scale solar PV | 1
Ross River solar farm | Large scale solar PV | 1
Susan River solar farm | Large scale solar PV | 1
Sun Metals Corporation Solar Farm | Large scale solar PV | 1
Whitsunday solar farm | Large scale solar PV | 1
Gannawarra solar farm | Large scale solar PV | 1
Bannerton Solar Park | Large scale solar PV | 1
Bungala one solar farm | Large scale solar PV | 1
Tailem Bend - Solar | Large scale solar PV | 1
Karadoc solar farm | Large scale solar PV | 1
Wemen solar farm | Large scale solar PV | 1
Finley Solar Farm | Large scale solar PV | 1
Limondale Solar Farm 2 | Large scale solar PV | 1
Barker Inlet Power Station | Reciprocating Engine | 3
Crowlands Wind Farm | Wind | 1
Haughton Solar Farm | Large scale solar PV | 1
Lilyvale Solar Farm | Large scale solar PV | 1
Nevertire Solar Farm | Large scale solar PV | 1
Numurkah Solar Farm | Large scale solar PV | 1
Oakey 1 Solar Farm | Large scale solar PV | 1
Rugby Run Solar Farm | Large scale solar PV | 1
Yarranlea Solar Farm | Large scale solar PV | 1
Yendon Wind Farm | Wind | 1
Coopers Gap Wind Farm | Wind | 1
Bungala Two Solar Farm | Large scale solar PV | 1
Cattle Hill Wind Farm | Wind | 1
Murra Warra Wind Farm - stage 1 | Wind | 1
Committed generators
Generator |  | % auxiliary load
Snowy 2.0 | Pumped Hydro | 1
Kennedy Energy Park Wind Farm | Wind | 1
Granville Harbour Wind Farm | Wind | 1
Bulgana Green Power Hub - Wind Farm | Wind | 1
Cherry Tree Wind Farm | Wind | 1
Dundonnell Wind Farm | Wind | 1
Elaine Wind Farm | Wind | 1
Lincoln Gap Wind Farm - stage 2 | Wind | 1
Moorabool Wind Farm | Wind | 1
Stockyard Hill Wind Farm | Wind | 1
Crudine Ridge Wind Farm | Wind | 1
Bomen Solar Farm | Large scale solar PV | 1
Darlington Point Solar Farm | Large scale solar PV | 1
Molong Solar Farm | Large scale solar PV | 1
Sunraysia Solar Farm | Large scale solar PV | 1
Maryrorough Solar Farm | Large scale solar PV | 1
Kennedy Energy Park Solar Farm | Large scale solar PV | 1
Limondale Solar Farm 1 | Large scale solar PV | 1
Oakey 2 Solar Farm | Large scale solar PV | 1
Warwick Solar Farm | Large scale solar PV | 1
Kiamal Solar Farm stage 1 | Large scale solar PV | 1
Yatpool Solar Farm | Large scale solar PV | 1
Cohuna Solar Farm | Large Scale Solar PV | 1
Goonumbla Solar Farm | Large Scale Solar PV | 1
Gangarri Solar Farm | Large Scale Solar PV | 1
Winton Solar Farm | Large Scale Solar PV | 1
Anticipated Projects
Generator |  | % auxiliary load
Berrybank Wind Farm | Wind | 1
Berrybank Wind Farm - Stage 2 | Wind | 1
Murra Warra Wind Farm - Stage 2 | Wind | 1
Broadsound Solar Farm | Large Scale Solar PV | 1
Cape York Battery Power Plant - Solar | Large Scale Solar PV | 1
Collector | Wind | 1
Gunnedah Solar Farm | Large Scale Solar PV | 1
Metz Solar Farm | Large Scale Solar PV | 1
Suntop Solar Farm | Large Scale Solar PV | 1
MacIntyre Wind Farm | Wind | 1
Carwarp Solar Farm stage 1 | Large Scale Solar PV | 1
Mortlake South Wind Farm | Wind | 1

## 2020_07_30 - Emissions_2019
Go to Assumptions Summary
Emissions
Existing generators |  |  |  |  | Generic new entrant technologies |  |  |  |  | Emissions for existing generators
Generator | Technology | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh) | Generator | Region | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh) | Generator | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Bayswater | Steam Sub Critical | 865.5122 | 47.1309 | 912.6431 | OCGT | Qld | 624.4845 | 89.2977 | 713.7822 | Hydro | 0 | 0 | 0
Eraring | Steam Sub Critical | 862.3464 | 47.7966 | 910.1431 | OCGT | NSW | 624.4845 | 158.6209 | 783.1054 | Wind | 0 | 0 | 0
Liddell | Steam Sub Critical | 930 | 50.5917 | 980.5917 | OCGT | VIC | 624.4845 | 45.8238 | 670.3083 | Large scale solar PV | 0 | 0 | 0
Mt Piper | Steam Sub Critical | 862.3022 | 46.2162 | 908.5184 | OCGT | SA | 624.4845 | 119.8469 | 744.3314 | Battery storage | 0 | 0 | 0
Vales Point B | Steam Sub Critical | 860 | 48.3051 | 908.3051 | OCGT | Tas | 624.4845 | 45.8238 | 670.3083
Callide B | Steam Sub Critical | 920 | 11.3435 | 931.3435 | CCGT | Qld | 394.6595 | 57.5725 | 452.232
Callide C | Steam Super Critical | 895.323 | 11.589 | 906.912 | CCGT | NSW | 394.6595 | 102.2669 | 496.9264
Gladstone | Steam Sub Critical | 960 | 11.7614 | 971.7614 | CCGT | VIC | 394.6595 | 29.5438 | 424.2033
Kogan Creek | Steam Super Critical | 820 | 11.04 | 831.04 | CCGT | SA | 394.6595 | 77.2684 | 471.9279
Millmerran | Steam Super Critical | 830.1346 | 11.4634 | 841.598 | CCGT | Tas | 394.6595 | 29.5438 | 424.2033
Stanwell | Steam Sub Critical | 860.94 | 11.25 | 872.19 | Black Coal (Supercritical PC) | Qld | 769.5165 | 20.6425 | 790.159
Tarong | Steam Sub Critical | 860.0221 | 11.4365 | 871.4586 | Black Coal (Supercritical PC) | NSW | 769.5165 | 82.57 | 852.0865
Tarong North | Steam Super Critical | 832.9647 | 10.7908 | 843.7555 | Black Coal (Supercritical PC) | VIC | 0 | 0 | 0
Loy Yang A Power Station | Steam Sub Critical | 1150 | 4.8176 | 1154.8176 | Black Coal (Supercritical PC) | SA | 0 | 0 | 0
Loy Yang B | Steam Sub Critical | 1136.0409 | 4.9805 | 1141.0214 | Black Coal (Supercritical PC) | Tas | 0 | 0 | 0
Yallourn W | Steam Sub Critical | 1310 | 5.5149 | 1315.5149 | Brown Coal (Supercritical PC) | Qld | 0 | 0 | 0
Colongra | OCGT | 640 | 142.56 | 782.56 | Brown Coal (Supercritical PC) | NSW | 0 | 0 | 0
Smithfield Energy Facility | CCGT | 480.9688 | 106.7707 | 587.7395 | Brown Coal (Supercritical PC) | VIC | 959.3369 | 4.5348 | 963.8717
Tallawarra | CCGT | 358.1395 | 89.3952 | 447.5347 | Brown Coal (Supercritical PC) | SA | 0 | 0 | 0
Uranquinty | OCGT | 581.7116 | 142.56 | 724.2716 | Brown Coal (Supercritical PC) | Tas | 0 | 0 | 0
Barcaldine Power Station | OCGT | 999.9566 | 99.2829 | 1099.2394 | Biomass | Qld | 1351.051 | 0 | 1351.051
Braemar | OCGT | 570.4776 | 92.664 | 663.1416 | Biomass | NSW | 1351.051 | 0 | 1351.051
Braemar 2 Power Station | OCGT | 570.4776 | 92.664 | 663.1416 | Biomass | VIC | 1351.051 | 0 | 1351.051
Condamine A | CCGT | 454.3237 | 56.745 | 511.0687 | Biomass | SA | 1351.051 | 0 | 1351.051
Darling Downs | CCGT | 420.2045 | 57.3809 | 477.5854 | Biomass | Tas | 1351.051 | 0 | 1351.051
Oakey Power Station | OCGT | 760 | 85.2736 | 845.2736 | Large scale Solar PV | ALL | 0 | 0 | 0
Roma | OCGT | 663.8544 | 92.664 | 756.5184 | Solar Thermal (8hrs Storage) | ALL | 0 | 0 | 0
Swanbank E GT | CCGT | 370 | 57.9523 | 427.9523 | Battery storage (2hrs storage) | ALL | 0 | 0 | 0
Yabulu PS | CCGT | 450 | 59.2122 | 509.2122 | Battery storage (4hrs storage) | ALL | 0 | 0 | 0
Yabulu Steam Turbine | CCGT | 450 | 59.2122 | 509.2122 | Wind | ALL | 0 | 0 | 0
Yarwun Cogen | CCGT | 532.3129 | 80.9365 | 613.2494 | Wind - offshore | ALL | 0 | 0 | 0
Somerton | OCGT | 760 | 57.915 | 817.915 | Pumped Hydro (6hrs storage) | ALL | 0 | 0 | 0
Bairnsdale | OCGT | 524.3273 | 40.8812 | 565.2085 | Pumped Hydro (12hrs storage) | ALL | 0 | 0 | 0
Jeeralang A | OCGT | 819.9338 | 59.4707 | 879.4045 | Pumped Hydro (24hrs storage) | ALL | 0 | 0 | 0
Jeeralang B | OCGT | 819.9338 | 59.4707 | 879.4045 | Pumped Hydro (48hrs storage) | ALL | 0 | 0 | 0
Laverton North | OCGT | 745.3812 | 44.7987 | 790.1799 | 1 Generic new entrant units and committed projects emissions are calculated based on unit's heat rates and fuel emissions details given in the GHD 2018 AEMO costs and technical parameter review.
Mortlake | OCGT | 530 | 43.4362 | 573.4362
Newport | Gas-powered steam turbine | 530 | 40.0541 | 570.0541
Valley Power | OCGT | 813.6315 | 57.915 | 871.5465
Hallett GT | OCGT | 1020 | 154.44 | 1174.44
Dry Creek GT | OCGT | 1200 | 142.56 | 1342.56
Ladbroke Grove | OCGT | 530 | 123.552 | 653.552
Mintaro GT | OCGT | 820 | 132.3771 | 952.3771
Osborne | CCGT | 460 | 84.6857 | 544.6857
Pelican Point | CCGT | 397.2675 | 76.44 | 473.7075
Quarantine | OCGT | 688.8094 | 111.15 | 799.9594
Torrens Island A | Gas-powered steam turbine | 590 | 118.56 | 708.56
Torrens Island B | Gas-powered steam turbine | 570 | 111.15 | 681.15
Bell Bay Three | OCGT | 617.7228 | 46.9614 | 664.6841
Tamar Valley Combined Cycle | CCGT | 652.9757 | 49.6414 | 702.6171
Tamar Valley Peaking | OCGT | 410.3827 | 28.3725 | 438.7552
Hunter Valley GT | OCGT | 887.1814 | 45.8229 | 933.0043
Mackay GT | OCGT | 1000 | 45.8229 | 1045.8229
Mt Stuart | OCGT | 955.8648 | 42.768 | 998.6328
Angaston | Reciprocating Engine | 940.2 | 73.4 | 1013.6
Lonsdale | Reciprocating Engine | 1442 | 49.8 | 1491.8
Port Lincoln Gt | OCGT | 1400 | 45.8585 | 1445.8585
Port Stanvac 1 | Reciprocating Engine | 1442 | 49.8 | 1491.8
Snuggery | OCGT | 1400 | 48.3508 | 1448.3508
Blowering | Hydro | 0 | 0 | 0
Guthega | Hydro | 0 | 0 | 0
Hume Dam NSW | Hydro | 0 | 0 | 0
Hume Dam VIC | Hydro | 0 | 0 | 0
Shoalhaven | Hydro | 0 | 0 | 0
Upper Tumut | Hydro | 0 | 0 | 0
Tumut 3 | Hydro | 0 | 0 | 0
Barron Gorge | Hydro | 0 | 0 | 0
Kareeya | Hydro | 0 | 0 | 0
Wivenhoe | Hydro | 0 | 0 | 0
Bogong / Mackay | Hydro | 0 | 0 | 0
Dartmouth | Hydro | 0 | 0 | 0
Eildon | Hydro | 0 | 0 | 0
Murray 1 | Hydro | 0 | 0 | 0
Murray 2 | Hydro | 0 | 0 | 0
West Kiewa | Hydro | 0 | 0 | 0
Bastyan | Hydro | 0 | 0 | 0
Catagunya / Liapootah / Wayatinah | Hydro | 0 | 0 | 0
Cethana | Hydro | 0 | 0 | 0
Devils Gate | Hydro | 0 | 0 | 0
Fisher | Hydro | 0 | 0 | 0
Gordon | Hydro | 0 | 0 | 0
John Butters | Hydro | 0 | 0 | 0
Lake Echo | Hydro | 0 | 0 | 0
Lemonthyme / Wilmot | Hydro | 0 | 0 | 0
Mackintosh | Hydro | 0 | 0 | 0
Meadowbank | Hydro | 0 | 0 | 0
Poatina | Hydro | 0 | 0 | 0
Reece | Hydro | 0 | 0 | 0
Tarraleah | Hydro | 0 | 0 | 0
Trevallyn | Hydro | 0 | 0 | 0
Tribute | Hydro | 0 | 0 | 0
Tungatinah | Hydro | 0 | 0 | 0
Boco Rock Wind Farm | Wind | 0 | 0 | 0
Bodangora wind farm | Wind | 0 | 0 | 0
Capital wind farm | Wind | 0 | 0 | 0
Crookwell 2 wind farm | Wind | 0 | 0 | 0
Cullerin Range wind farm | Wind | 0 | 0 | 0
Gullen Range wind farm | Wind | 0 | 0 | 0
Gunning wind farm | Wind | 0 | 0 | 0
Silverton wind farm | Wind | 0 | 0 | 0
Sapphire wind farm | Wind | 0 | 0 | 0
Taralga wind farm | Wind | 0 | 0 | 0
White Rock Wind Farm - Stage 1 | Wind | 0 | 0 | 0
Woodlawn wind farm | Wind | 0 | 0 | 0
Mount Emerald | Wind | 0 | 0 | 0
Canunda wind farm | Wind | 0 | 0 | 0
Cathedral Rocks wind farm | Wind | 0 | 0 | 0
Clements Gap wind farm | Wind | 0 | 0 | 0
Hallett Stage 1 Brown Hill | Wind | 0 | 0 | 0
Hallett Stage 2 Hallett Hill | Wind | 0 | 0 | 0
Hallett 4 North Brown Hill | Wind | 0 | 0 | 0
Hallett 5 The Bluff WF | Wind | 0 | 0 | 0
Hornsdale wind farm Stage 1 | Wind | 0 | 0 | 0
Hornsdale wind farm Stage 2 | Wind | 0 | 0 | 0
Hornsdale wind farm Stage 3 | Wind | 0 | 0 | 0
Lake Bonney 1 wind farm | Wind | 0 | 0 | 0
Lake Bonney 2 wind farm | Wind | 0 | 0 | 0
Lake Bonney 3 wind farm | Wind | 0 | 0 | 0
Lincoln Gap Wind Farm - stage 1 | Wind | 0 | 0 | 0
Willogoleche wind farm | Wind | 0 | 0 | 0
Mount Millar wind farm | Wind | 0 | 0 | 0
Snowtown wind farm | Wind | 0 | 0 | 0
Snowtown S2 Wind Farm - North | Wind | 0 | 0 | 0
Snowtown S2 Wind Farm - South | Wind | 0 | 0 | 0
Starfish Hill wind farm | Wind | 0 | 0 | 0
Waterloo wind farm | Wind | 0 | 0 | 0
Wattle Point wind farm | Wind | 0 | 0 | 0
Musselroe wind farm | Wind | 0 | 0 | 0
Woolnorth wind farm | Wind | 0 | 0 | 0
Ararat wind farm | Wind | 0 | 0 | 0
Bald Hills wind farm | Wind | 0 | 0 | 0
Challicum Hills wind farm | Wind | 0 | 0 | 0
Kiata wind farm | Wind | 0 | 0 | 0
Macarthur wind farm | Wind | 0 | 0 | 0
Mortons Lane wind farm | Wind | 0 | 0 | 0
Mt Gellibrand wind farm | Wind | 0 | 0 | 0
Mt Mercer Wind Farm | Wind | 0 | 0 | 0
Oaklands Hill wind farm | Wind | 0 | 0 | 0
Portland wind farm | Wind | 0 | 0 | 0
Salt Creek wind farm | Wind | 0 | 0 | 0
Waubra wind farm | Wind | 0 | 0 | 0
Yambuk wind farm | Wind | 0 | 0 | 0
Yaloak South wind farm | Wind | 0 | 0 | 0
Broken Hill Solar Plant | Large scale solar PV | 0 | 0 | 0
Beryl solar farm | Large scale solar PV | 0 | 0 | 0
Coleambally solar farm | Large scale solar PV | 0 | 0 | 0
Gullen Range solar farm | Large scale solar PV | 0 | 0 | 0
Manildra solar farm | Large scale solar PV | 0 | 0 | 0
Moree solar farm | Large scale solar PV | 0 | 0 | 0
Nyngan Solar Plant | Large scale solar PV | 0 | 0 | 0
Parkes solar farm | Large scale solar PV | 0 | 0 | 0
White Rock solar farm | Large scale solar PV | 0 | 0 | 0
Clare solar farm | Large scale solar PV | 0 | 0 | 0
Childers solar farm | Large scale solar PV | 0 | 0 | 0
Collinsville PV | Large scale solar PV | 0 | 0 | 0
Clermont solar farm | Large scale solar PV | 0 | 0 | 0
Darling Downs solar farm | Large scale solar PV | 0 | 0 | 0
Daydream solar farm | Large scale solar PV | 0 | 0 | 0
Emerald Solar Park | Large scale solar PV | 0 | 0 | 0
Hamilton solar farm | Large scale solar PV | 0 | 0 | 0
Hayman solar farm | Large scale solar PV | 0 | 0 | 0
Hughenden solar farm | Large scale solar PV | 0 | 0 | 0
Kidston Solar Project Phase One 50MW | Large scale solar PV | 0 | 0 | 0
Longreach solar farm | Large scale solar PV | 0 | 0 | 0
Ross River solar farm | Large scale solar PV | 0 | 0 | 0
Susan River solar farm | Large scale solar PV | 0 | 0 | 0
Sun Metals Corporation Solar Farm | Large scale solar PV | 0 | 0 | 0
Whitsunday solar farm | Large scale solar PV | 0 | 0 | 0
Gannawarra solar farm | Large scale solar PV | 0 | 0 | 0
Bannerton Solar Park | Large scale solar PV | 0 | 0 | 0
Bungala one solar farm | Large scale solar PV | 0 | 0 | 0
Tailem Bend - Solar | Large scale solar PV | 0 | 0 | 0
Karadoc solar farm | Large scale solar PV | 0 | 0 | 0
Wemen solar farm | Large scale solar PV | 0 | 0 | 0
Finley Solar Farm | Large scale solar PV | 0 | 0 | 0
Limondale Solar Farm 2 | Large scale solar PV | 0 | 0 | 0
Barker Inlet Power Station | Reciprocating Engine | 422.5737 | 80.5263 | 503.1
Crowlands Wind Farm | Wind | 0 | 0 | 0
Haughton Solar Farm | Large scale solar PV | 0 | 0 | 0
Lilyvale Solar Farm | Large scale solar PV | 0 | 0 | 0
Nevertire Solar Farm | Large scale solar PV | 0 | 0 | 0
Numurkah Solar Farm | Large scale solar PV | 0 | 0 | 0
Oakey 1 Solar Farm | Large scale solar PV | 0 | 0 | 0
Rugby Run Solar Farm | Large scale solar PV | 0 | 0 | 0
Yarranlea Solar Farm | Large scale solar PV | 0 | 0 | 0
Yendon Wind Farm | Wind | 0 | 0 | 0
Coopers Gap Wind Farm | Wind | 0 | 0 | 0
Bungala Two Solar Farm | Large scale solar PV | 0 | 0 | 0
Cattle Hill Wind Farm | Wind | 0 | 0 | 0
Murra Warra Wind Farm - stage 1 | Wind | 0 | 0 | 0
Committed generators
Generator |  | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Snowy 2.0 | Pumped Hydro | 0 | 0 | 0
Kennedy Energy Park Wind Farm | Wind | 0 | 0 | 0
Granville Harbour Wind Farm | Wind | 0 | 0 | 0
Bulgana Green Power Hub - Wind Farm | Wind | 0 | 0 | 0
Cherry Tree Wind Farm | Wind | 0 | 0 | 0
Dundonnell Wind Farm | Wind | 0 | 0 | 0
Elaine Wind Farm | Wind | 0 | 0 | 0
Lincoln Gap Wind Farm - stage 2 | Wind | 0 | 0 | 0
Moorabool Wind Farm | Wind | 0 | 0 | 0
Stockyard Hill Wind Farm | Wind | 0 | 0 | 0
Crudine Ridge Wind Farm | Wind | 0 | 0 | 0
Bomen Solar Farm | Large scale solar PV | 0 | 0 | 0
Darlington Point Solar Farm | Large scale solar PV | 0 | 0 | 0
Molong Solar Farm | Large scale solar PV | 0 | 0 | 0
Sunraysia Solar Farm | Large scale solar PV | 0 | 0 | 0
Maryrorough Solar Farm | Large scale solar PV | 0 | 0 | 0
Kennedy Energy Park Solar Farm | Large scale solar PV | 0 | 0 | 0
Limondale Solar Farm 1 | Large scale solar PV | 0 | 0 | 0
Oakey 2 Solar Farm | Large scale solar PV | 0 | 0 | 0
Warwick Solar Farm | Large scale solar PV | 0 | 0 | 0
Kiamal Solar Farm stage 1 | Large scale solar PV | 0 | 0 | 0
Yatpool Solar Farm | Large scale solar PV | 0 | 0 | 0
Cohuna Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Goonumbla Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Gangarri Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Winton Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Anticipated Projects
Generator |  | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Berrybank Wind Farm | Wind | 0 | 0 | 0
Berrybank Wind Farm - Stage 2 | Wind | 0 | 0 | 0
Murra Warra Wind Farm - Stage 2 | Wind | 0 | 0 | 0
Broadsound Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Cape York Battery Power Plant - Solar | Large Scale Solar PV | 0 | 0 | 0
Collector | Wind | 0 | 0 | 0
Gunnedah Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Metz Solar Farm | Large Scale Solar PV | 0 | 0 | 0
Suntop Solar Farm | Large Scale Solar PV | 0 | 0 | 0
MacIntyre Wind Farm | Wind | 0 | 0 | 0
Carwarp Solar Farm stage 1 | Large Scale Solar PV | 0 | 0 | 0
Mortlake South Wind Farm | Wind | 0 | 0 | 0
Existing, Committed and Anticipated Batteries
Storage |  | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh)
Hornsdale Power Reserve Unit 1 | Battery Storage | 0 | 0 | 0
Dalrymple North BESS | Battery Storage | 0 | 0 | 0
Ballarat Energy Storage System | Battery Storage | 0 | 0 | 0
Bulgana Green Power Hub - BESS | Battery Storage | 0 | 0 | 0
Gannawarra Energy Storage System | Battery Storage | 0 | 0 | 0
Lincoln Gap BESS | Battery Storage | 0 | 0 | 0
Lake Bonney BESS1 | Battery Storage | 0 | 0 | 0
Cape York Battery Power Plant - Storage | Battery Storage | 0 | 0 | 0

## 2018_07_17 - Auxiliary_2018
Auxiliary load
Auxiliary load is also called "parasitic load" or "self load" and refers to energy generated for use within power stations
Existing generators |  | New entrants
Generator | % auxiliary load | Generator | % auxiliary load
Bayswater | 6 | Wind | 1
Eraring | 6 | Solar PV | 1
Liddell | 5 | CCGT | 3
Mount Piper | 5 | OCGT | 1
Vales Point | 5 | Reciprocating engine | 3
Callide B | 9 | Biomass | 8
Callide Power Plant | 6 | Pumped Hydro | 1
Gladstone | 8 | Black Coal (HELE) | 6
Kogan Creek | 9 | Solar Thermal Central Receiver (6 hrs storage) | 1
Millmerran | 6
Stanwell | 9
Tarong | 8
Tarong North | 6
Loy Yang A | 9
Loy Yang B | 8
Yallourn | 10
Colongra | 1
Smithfield | 5
Tallawarra | 3
Uranquinty | 1
Barcaldine | 1
Braemar | 1
Condamine | 3
Darling Downs | 6
Oakey | 1
Roma | 1
Swanbank E | 3
Yabulu (Townsville) | 3
Yarwun | 2
Somerton | 1
Bairnsdale | 1
Jeeralang A | 3
Jeeralang B | 3
Laverton North | 3
Mortlake | 1
Newport | 5
Valley Power | 1
Hallett GT | 1
Dry Creek | 1
Ladbroke Grove | 1
Mintaro | 1
Osborne | 5
Pelican Point | 2
Quarantine | 5
Torrens Island A | 5
Torrens Island B | 5
Bell Bay Three | 3
Tamar Valley | 1
Hunter Valley GT | 1
Mackay GT | 1
Mount Stuart | 1
Angaston | 2.5
Lonsdale | 2.5
Port Lincoln | 8
Port Lincoln 3 | 8
Port Stanvac | 2.5
Snuggery | 3
All hydro | 1
All wind | 1
All solar | 1

## 2018_07_17 - Emissions_2018
Emissions
Existing generators |  |  |  | Generic new entrant units, committed and advanced projects
Generator | Combustion emissions (kg/MWh) | Fugitive emissions (kg/MWh) | Total emissions (kg/MWh) | Generator | Emissions (kg/MWh)
Bayswater | 865.5122 | 47.1309 | 912.6431 | Wind | 0
Eraring | 862.3464 | 47.7966 | 910.1431 | Solar PV | 0
Liddell | 930 | 50.5917 | 980.5917 | Biomass | 57.13
Mount Piper | 862.3022 | 46.2162 | 908.5184 | Barker Inlet2 | 500.46
Vales Point | 860 | 48.3051 | 908.3051 | Solar Thermal Central Receiver (6 hrs storage) | 0
Callide B | 920 | 11.3435 | 931.3435 | Pumped Hydro (6hrs storage) / Large Scale Battery Storage (2hrs storage) | 0
Callide Power Plant | 895.323 | 11.589 | 906.912 | New entrant combustion emissions3
Gladstone | 960 | 11.7614 | 971.7614 |  | Emissions (kg/GJ)
Kogan Creek | 820 | 11.04 | 831.04 | OCGT | 51.53
Millmerran | 830.1346 | 11.4634 | 841.598 | CCGT | 51.53
Stanwell | 860.94 | 11.25 | 872.19 | Black Coal (HELE) | 96.14
Tarong | 860.0221 | 11.4365 | 871.4586
Tarong North | 832.9647 | 10.7908 | 843.7555 | New entrant fugitive emissions
Loy Yang A | 1150 | 4.8176 | 1154.8176 |  | Gas Emissions (kg/GJ) | Coal Emissions (kg/GJ)
Loy Yang B | 1136.0409 | 4.9805 | 1141.0214 | Qld | 7.8 | 1.25
Yallourn | 1310 | 5.5149 | 1315.5149 | NSW | 12.8 | 5
Colongra | 640 | 142.56 | 782.56 | Vic | 3.9
Smithfield | 480.9688 | 106.7707 | 587.7395 | SA | 10.4 | 2.5
Tallawarra | 358.1395 | 89.3952 | 447.5347 | Tas | 3.9
Uranquinty | 581.7116 | 142.56 | 724.2716
Barcaldine | 999.9566 | 99.2829 | 1099.2394 | Derived new entrant emissions (kg/MWh)
Braemar | 570.4776 | 92.664 | 663.1416 | New entrant | Emissions4
Condamine | 454.3237 | 56.745 | 511.0687 | Qld OCGT | 602.1995
Darling Downs | 420.2045 | 57.3809 | 477.5854 | Qld CCGT | 411.1569
Oakey | 760 | 85.2736 | 845.2736 | NSW OCGT | 652.9495
Roma | 663.8544 | 92.664 | 756.5184 | NSW CCGT | 445.8069
Swanbank E | 370 | 57.9523 | 427.9523 | Vic OCGT | 562.6145
Yabulu | 450 | 59.2122 | 509.2122 | Vic CCGT | 384.1299
Yabulu Steam Turbine | 450 | 59.2122 | 509.2122 | SA OCGT | 628.5895
Yarwun | 532.3129 | 80.9365 | 613.2494 | SA CCGT | 429.1749
Somerton | 760 | 57.915 | 817.915 | Tas OCGT | 562.6145
Bairnsdale | 524.3273 | 40.8812 | 565.2085 | Tas CCGT | 384.1299
Jeeralang A | 819.9338 | 59.4707 | 879.4045 | Qld Coal (HELE) | 843.787
Jeeralang B | 819.9338 | 59.4707 | 879.4045 | NSW Coal (HELE) | 876.277
Laverton North | 745.3812 | 44.7987 | 790.1799 | SA Coal (HELE) | 803.4127
Mortlake | 530 | 43.4362 | 573.4362
Newport | 530 | 40.0541 | 570.0541
Valley Power | 813.6315 | 57.915 | 871.5465
Hallett GT | 1020 | 154.44 | 1174.44
Dry Creek | 1200 | 142.56 | 1342.56 | 2. Based on emissions factor of gas, modelled heat rate and fugitive emissions profile of Torrens Island A
Ladbroke Grove | 530 | 123.552 | 653.552 | 3. New entrant gas units use standard emissions rate for natural gas combined with heat rates to derive emissions.
Mintaro | 820 | 132.3771 | 952.3771 | 4. Based on a new entrant with 2017 heat rate
Osborne | 460 | 84.6857 | 544.6857
Pelican Point | 397.2675 | 76.44 | 473.7075
Quarantine | 688.8094 | 111.15 | 799.9594
Torrens Island A | 590 | 118.56 | 708.56
Torrens Island B | 570 | 111.15 | 681.15
Bell Bay Three | 617.7228 | 46.9614 | 664.6841
Tamar Valley GT | 652.9757 | 49.6414 | 702.6171
Tamar Valley ST | 410.3827 | 28.3725 | 438.7552
Hunter Valley GT | 887.1814 | 45.8229 | 933.0043
Mackay GT | 1000 | 45.8229 | 1045.8229
Mount Stuart | 955.8648 | 42.768 | 998.6328
Angaston1 | 940.2 | 73.4 | 1013.6
Lonsdale1 | 1442 | 49.8 | 1491.8
Port Lincoln | 1400 | 45.8585 | 1445.8585
Port Lincoln 3 | 1400 | 45.8585 | 1445.8585
Port Stanvac1 | 1442 | 49.8 | 1491.8
Snuggery | 1400 | 48.3508 | 1448.3508
Tailem Bend | 940.2 | 73.4 | 1013.6
All hydro | 0 | 0 | 0
All wind | 0 | 0 | 0
All solar | 0 | 0 | 0
1. Not present in source material; previous (2014) value retained
No price on carbon emissions has been assumed in the modelling